## Part D - PROCESSING FACILITY ST
Compliance Common Application
Standard | Question | Response | Applicant Comment
D1.1 These Standards apply to all processing, storage, and distribution activities performed in the Processing Facility on cellular therapy products.
1. Does the Processing Facility apply these Standards to all processing, storage, and distribution activities performed in the Processing Facility on cellular therapy products? • Yes • No
2. Complete and upload the Processing Facility Grid. For initial accreditation, enter data for the previous 12 months. For renewal accreditation, enter data from the start of the current accreditation cycle.
3. Enter name and physical location of each storage site(s).
4. Describe spatial relationship among the following facilities: processing facility(ies) and storage site(s).
5. Submit physical floor plans of all facilities. Label all floors of the building(s) that are used for cellular therapy related activities. If the floor plan(s) is labeled in a language other than English, include a general description of the floor plan in English.
6. Submit a map of the overall organization that includes all facilities. If the map is labeled in a language other than English, include a general description of the floor plan or diagram in English.
D1.2 The Processing Facility shall abide by Applicable Law.
1. Does the Processing Facility abide by all Applicable Law? • Yes • No
2. Enter the name of the regulatory agency(ies) that has oversight of cellular therapy processing in your country.
D1.2.1 The Processing Facility shall be licensed, registered, or accredited as required by the appropriate governmental authorities for the activities performed.
1. Is the Processing Facility licensed, registered, or accredited as required by the appropriate governmental authorities for the activities performed? • Yes • No • The facility is not required to be licensed, registered, or accredited by governmental authorities for the activities performed
2. Submit documentation of licensure, registration, or accreditation required by the appropriate governmental authority for the activities performed. U.S. facilities must submit a copy of the validated FDA registration for Human Cells, Tissues, and Cellular and Tissue Based Products. Facilities in other countries must submit certification required by the appropriate governmental authority. If the licensure, registration, or accreditation is in a language other than English, include a general description of the document in English.
D1.3 The Processing Facility shall have a Processing Facility Director, a Processing Facility Medical Director, a Quality Manager, and a minimum of one (1) additional designated staff member. This team shall have been in place and performing cellular therapy product processing for at least twelve (12) months preceding initial accreditation.
1. Does the Processing Facility have a Processing Facility Director, a Processing Facility Medical Director, a Quality Manager, and a minimum of one (1) additional designated staff member? • Yes • No
2. Is the team actively performing cellular therapy product processing? • Yes • No
3. Is the Processing Facility seeking initial accreditation? • Yes • No
4. Enter date of first and most recent processing procedure.
5. Has the team been in place for at least twelve (12) months preceding initial accreditation? • Yes • No
D2.1 There shall be secured and controlled access to designated areas for the processing procedure and for storage of equipment, supplies, and reagents.
1. Are there secured and controlled access to designated areas for the processing procedure and for storage of equipment, supplies, and reagents? • Yes • No
D2.1.1 The designated area for processing shall be in an appropriate location of adequate space and design to minimize the risk of airborne microbial contamination.
1. Is the designated area for processing in an appropriate location of adequate space and design to minimize the risk of airborne microbial contamination? • Yes • No
D2.1.2 The Processing Facility shall be divided into defined areas of adequate size to prevent improper labeling, mix-ups, contamination, or cross-contamination of cellular therapy or genetically modified products.
1. Is the Processing Facility divided into defined areas of adequate size to prevent the following: • Improper labeling of cellular therapy or genetically modified products • Mix-ups of cellular therapy or genetically modified products • Contamination of cellular therapy or genetically modified products • Cross-contamination of cellular therapy or genetically modified products
D2.1.3 There shall be a process to control storage areas to prevent mix-ups, contamination, and cross-contamination of cellular therapy products.
1. Is there a process to control storage areas to prevent mix-ups, contamination, and cross-contamination of cellular therapy products? • Yes • No
D2.2 The Processing Facility shall provide adequate lighting, ventilation, and access to sinks for hand washing and to toilets to prevent the introduction, transmission, or spread of communicable disease.
1. Does the Processing Facility provide the following to prevent the introduction, transmission, or spread of communicable disease: • Adequate lighting? • Adequate ventilation? • Adequate access to sinks for hand washing and to toilets?
D2.3 Oxygen sensors shall be appropriately placed and utilized in areas where liquid nitrogen is present.
1. Are oxygen sensors appropriately placed and utilized in areas where liquid nitrogen is present? • Yes • No
D2.4 Processing Facility parameters and environmental conditions shall be controlled to protect the safety and comfort of personnel.
1. Are Processing Facility parameters and environmental conditions controlled to protect the safety and comfort of personnel? • Yes • No
D2.5 There shall be a written assessment of critical Processing Facility parameters that may affect cellular therapy product viability, integrity, or contamination or cross-contamination during processing, storage, or distribution.
1. Is there a written assessment of critical Processing Facility parameters that may affect cellular therapy product viability, integrity, or contamination or cross-contamination during processing, storage, or distribution? • Yes • No
D2.5.1 The written assessment shall include temperature, humidity, air quality, and surface contaminants at a minimum.
1. Does the written assessment, at a minimum, include: • Temperature? • Humidity? • Air quality? • Surface contaminants?
D2.5.2 Critical facility parameters identified to be a risk to the cellular therapy product shall be controlled, monitored, and recorded.
1. Are critical facility parameters identified to be a risk to the cellular therapy product: • Controlled? • Monitored? • Recorded?
2. Do records document that temperature and humidity in storage and processing areas meet manufacturer specifications for critical supplies, reagents, and equipment? • Yes • No
3. Were temperature or humidity in storage or processing areas always within manufacturer specification in the past 12 months (initial accreditation) or within the current accreditation cycle (renewal accreditation)? • Yes • No
4. Did the facility conduct an investigation, implement corrective actions, and evaluate the effectiveness of corrective actions? • Yes • No
5. Describe the magnitude and duration of each excursion and what steps were taken to investigate and correct the excursion and evaluate the effectiveness of the corrective actions.
D2.5.3 The Processing Facility shall qualify environmental control systems and validate cleaning and sanitation procedures appropriate for the environmental classification and degree of manipulation performed.
1. Does the Processing Facility perform the following as appropriate for the environmental classification and degree of manipulation performed: • Qualify environmental control systems? • Validate cleaning and sanitation procedures?
D2.6 The Processing Facility shall document facility cleaning and sanitation and maintain order sufficient to achieve adequate conditions for operations.
1. Does the Processing Facility: • Document facility cleaning and sanitation? • Maintain order sufficient to achieve adequate conditions for operations?
D2.7 The Processing Facility shall be operated in a manner designed to minimize risks to the health and safety of employees, visitors, and volunteers.
1. Is the Processing Facility operated in a manner designed to minimize risks to the health and safety of the following: • Employees? • Visitors? • Volunteers?
D2.8 The Processing Facility shall have a written safety manual that includes instructions for action in case of exposure, as applicable, to liquid nitrogen; communicable disease; and to chemical, biological, radiological, electrical, or fire hazards.
1. Does the Processing Facility have a written safety manual? • Yes • No
2. Does the written safety manual include instructions for action in case of exposure to the following as applicable: • Liquid nitrogen? • Communicable disease? • Chemical hazards? • Biological hazards? • Radiological hazards? • Electrical hazards? • Fire hazards?
D2.9 There shall be a biosafety plan consistent with the Institutional Biosafety Committee (IBC) requirements that addresses genetically modified products in compliance with Applicable Law.
1. Is there a biosafety plan consistent with the Institutional Biosafety Committee (IBC) requirements that addresses genetically modified products in compliance with Applicable Law? • Yes • No
D2.10 All waste generated by Processing Facility activities shall be disposed of in a manner that minimizes any hazard to facility personnel and to the environment in accordance with Applicable Law.
1. Is all waste generated by the Processing Facility activities disposed of in a manner that minimizes any hazard to facility personnel and to the environment in accordance with Applicable Law? • Yes • No
D2.11 Personal protective equipment, including gloves and protective clothing, shall be used while handling biological specimens. Such protective equipment shall not be worn outside the work area.
1. Is personal protective equipment, including gloves and protective clothing, used while handling biological specimens? • Yes • No
2. Is such protective equipment restricted to the work area? • Yes • No
D2.12 When a collection kit is prepared and sent to collection staff, there shall be adequate instructions and materials to collect, label, store, pack, and transport or ship the cellular therapy product and associated samples to the Processing Facility.
1. When a collection kit is prepared and sent to collection staff, are there adequate instructions and materials to collect, label, store, pack, and transport or ship the cellular therapy product and associated samples to the Processing Facility? • Yes • No • Collection kits are not prepared and sent from the Processing Facility
2. Submit instructions sent to collection staff with collection kits. If the instructions are in a language other than English, submit at a minimum a summary of instructions in English.
D2.12.1 The collection kit shall be transported or shipped under conditions validated to maintain the designated temperature range from the time it leaves the Processing facility until it is received by the collection staff.
1. Is the collection kit transported or shipped under conditions validated to maintain the designated temperature range from the time it leaves the Processing facility until it is received by the collection staff? • Yes • No
D2.12.2 Identity of the supplies and reagents including manufacturer, lot number, and expiration date shall be documented for each collection.
1. Is the identity of the supplies and reagents including manufacturer, lot number, and expiration date documented for each collection? • Yes • No
D2.12.3 Supplies and reagents shipped to the collection staff from the Processing Facility shall be in an outer container validated to maintain the designated temperature range.
1. Are supplies and reagents shipped to the collection staff from the Processing Facility in an outer container validated to maintain the designated temperature range? • Yes • No
D3.1.1 There shall be a Processing Facility Director with a medical degree, doctoral degree, or equivalent degree in a relevant science, qualified by a minimum of two (2) years training and experience for the scope of activities carried out in the Processing Facility.
1. Select the name of the Processing Facility Director.
2. Is the Processing Facility Director an individual with a medical degree, doctoral degree, or equivalent degree in a relevant science, qualified by a minimum of two (2) years training and experience for the scope of activities carried out in the Processing Facility? • Yes • No
3. Submit a curriculum vitae for each Processing Facility Director. If the documentation is in a language other than English, include a summary in English.
D3.1.2 The Processing Facility Director shall be responsible for all Standard Operating Procedures, administrative operations, and compliance with the Quality Management Program of the Processing Facility, including compliance with these Standards and Applicable Law.
1. Is the Processing Facility Director responsible for the following: • Standard Operating Procedures? • Administrative operations? • Quality Management Program of the Processing Facility, including compliance with these Standards and Applicable Law?
D3.1.3 The Processing Facility Director shall participate in a minimum of ten (10) hours annually of educational activities related to cellular therapy.
1. Does the Processing Facility Director participate in a minimum of ten (10) annually hours of educational activities related to cellular therapy? • Yes • No
2. Submit documentation of at least ten (10) hours per year for each Processing Facility Director of participation in educational activities related to cellular therapy since the previous accreditation date. Complete and upload the Educational Activities Form or submit other documentation that contains the equivalent information for each activity (meeting names and topics must be defined): - Date of activity - Title of activity - Type of activity (e.g., webinar, meeting, grand round) - Topic of activity (e.g., cell processing) - Approximate number of hours of activity.Note: Indicate start date if with the program for less than 2 years or provide explanation for gap in education (e.g., leave). Include total hours for year.
D3.1.3.1 Continuing education shall include, but is not limited to, activities related to cellular therapy product processing or the applicable therapeutic disease area.
1. Does continuing education include, but is not limited to, activities related to cellular therapy product processing or the applicable therapeutic disease area? • Yes • No
D3.2.1 There shall be a Processing Facility Medical Director who is a licensed physician with a minimum of two (2) years postgraduate training and practical and relevant experience for the scope of activities carried out in the preparation and clinical use of cellular therapy products.
1. Is there a Processing Facility Medical Director who is a licensed physician with a minimum of two (2) years postgraduate training and practical and relevant experience for the scope of activities carried out in the preparation and clinical use of cellular therapy products? • Yes • No
2. Select the name of the Processing Facility Medical Director.
3. Submit a copy of the current license or certificate to practice medicine in the jurisdiction in which the processing facility is located for each Processing Facility Medical Director. If the license or certificate is in a language other than English, include a translation or general description in English.
4. Submit a curriculum vitae for each processing Facility Medical Director. If the documentation is in a language other than English, include a general description in English.
D3.2.2 The Processing Facility Medical Director shall be directly responsible for all medical aspects related to the Processing Facility.
1. Is the Processing Facility Medical Director directly responsible for all medical aspects related to the Processing Facility? • Yes • No
D3.2.3 The Processing Facility Medical Director shall participate in a minimum of ten (10) hours annually of educational activities related to cellular therapy.
1. Does the Processing Facility Medical Director participate in a minimum of ten (10) hours annually of educational activities related to cellular therapy? • Yes • No
2. Submit documentation of at least ten (10) hours per year for each Processing Facility Medical Director of participation in educational activities related to cellular therapy since the previous date of accreditation. Complete and upload the Educational Activities Form or submit other documentation that contains the equivalent information for each activity (meeting names and topics must be defined): - Date of activity - Title of activity - Type of activity (e.g., webinar, meeting, grand round) - Topic of activity (e.g., cell processing) - Approximate number of hours of activity.Note: Indicate start date if with the program for less than 2 years or provide explanation for gap in education (e.g., leave). Include total hours for year.
D3.2.3.1 Continuing education shall include, but is not limited to, activities related to cellular therapy product processing or the applicable therapeutic disease area.
1. Does continuing education include, but is not limited to, activities related to cellular therapy product processing or the applicable therapeutic disease area? • Yes • No
D3.3.1 There shall be a Processing Facility Quality Manager to establish and maintain systems to review, modify, and approve all policies and Standard Operating Procedures intended to monitor compliance with the performance of the Processing Facility, these Standards, or Applicable Law.
1. Is there a Processing Facility Quality Manager to establish and maintain systems to review, modify, and approve all policies and Standard Operating Procedures intended to monitor compliance with the performance of the Processing Facility, these Standards, or Applicable Law? • Yes • No
2. Select the name of the Quality Manager.
D3.3.2 The Processing Facility Quality Manager should have a reporting structure independent of cellular therapy product manufacturing.
1. Does the Processing Facility Quality Manager have a reporting structure independent of cellular therapy product manufacturing? • Yes • No
D3.3.3 The Processing Facility Quality Manager shall participate in a minimum of ten (10) hours annually of educational activities related to cellular therapy, cell processing, or quality management.
1. Does the Processing Facility Quality Manager participate in a minimum of ten (10) hours annually of educational activities related to cellular therapy, cell processing, or quality management? • Yes • No
2. Submit documentation of at least ten (10) hours per year for each Quality Manager of participation in educational activities related to cellular therapy, cell processing, or quality management since the previous date of accreditation. Complete and upload the Educational Activities Form or submit other documentation that contains the equivalent information for each activity (meeting names and topics must be defined): - Date of activity - Title of activity - Type of activity (e.g., webinar, meeting, grand round) - Topic of activity (e.g., cell processing) - Approximate number of hours of activity.Note: Indicate start date if with the program for less than 2 years or provide explanation for gap in education (e.g., leave). Include total hours for year.
D3.3.3.1 Continuing education shall include, but is not limited to, activities related to cellular therapy, cell processing, and Quality Management.
1. Does continuing education include, but is not limited to, activities related to cellular therapy, cell processing, and Quality Management? • Yes • No
D3.4.1 The number of trained processing personnel shall be adequate for the number of procedures performed and shall include a minimum of one (1) designated trained individual with an identified trained backup individual to maintain sufficient coverage.
1. Is the number of trained processing personnel adequate for the number of procedures performed? • Yes • No
2. Is there a minimum of one (1) designated trained individual? • Yes • No
3. Is there an identified trained backup individual to maintain sufficient coverage? • Yes • No
4. Do records document initial training, competency, and retraining, when appropriate, for all staff for all procedures performed? • Yes • No
D4.1 There shall be a Quality Management Program that incorporates key performance data.
1. Is there a Quality Management Program that incorporates key performance data? • Yes • No
D4.1.1 The Processing Facility Director shall have authority over and responsibility for ensuring that the Quality Management Program is effectively established and maintained.
1. Does the Processing Facility Director have authority over and responsibility for ensuring that the Quality Management Program is effectively established and maintained? • Yes • No
D4.2 The Processing Facility shall establish and maintain a written Quality Management Plan.
1. Does the Processing Facility establish and maintain a written Quality Management Plan? • Yes • No
2. Submit the Processing Facility's Quality Management Plan that includes all requirements listed in D4. (Must be in English)
3. Submit a copy of all policies and Standards Operating Procedures referenced in the Quality Management Plan.
D4.2.1 The Processing Facility Director shall be responsible for the Quality Management Plan as it pertains to the Processing Facility.
1. Is the Processing Facility Director responsible for the Quality Management Plan as it pertains to the Processing Facility? • Yes • No
D4.3 The Quality Management Plan shall include, or summarize and reference, an organizational chart of key positions, functions, and reporting relationships within the Processing Facility.
1. Does the Quality Management Plan include, or summarize and reference, an organizational chart of key positions, functions, and reporting relationships within the Processing Facility? • Yes • No
2. Submit the organizational chart of key positions, functions, and reporting relationships within the Processing Facility. (Must be in English)
D4.3.1 The Quality Management Plan shall include a description of how these key positions interact to implement the quality management activities.
1. Does the Quality Management Plan include a description of how these key positions interact to implement the quality management activities? • Yes • No
D4.4 The Quality Management Plan shall include, or summarize and reference, policies and Standard Operating Procedures addressing personnel requirements for each key position in the Processing Facility. Personnel requirements shall include at a minimum:
1. Does the Quality Management Plan include, or summarize and reference, policies and Standard Operating Procedures addressing personnel requirements for each key position in the Processing Facility? • Yes • No
D4.4.1 A current job description for all staff.
1. Do personnel requirements include a current job description for all staff? • Yes • No
D4.4.2.1 Initial qualifications.
1. Do personnel requirements include a system to document initial qualifications for all staff? • Yes • No
D4.4.2.2 New employee orientation.
1. Do personnel requirements include a system to document new employee orientation for all staff? • Yes • No
D4.4.2.3 Initial training, competency, and retraining when appropriate for all procedures performed, and in accordance with Applicable Law.
1. Do personnel requirements include a system to document initial training, competency, and retraining when appropriate for all procedures when in accordance with Applicable Law, performed for all staff? • Yes • No
D4.4.2.4 Continued competency for each critical function performed, assessed annually at a minimum.
1. Do personnel requirements include a system to document continued competency for each critical function performed, assessed annually at a minimum for all staff? • Yes • No
D4.4.2.5 Annual training in applicable current GxP appropriate to the processes performed in accordance with Applicable Law.
1. Do personnel requirements include a system to document annual training in applicable current GxP appropriate to the processes performed in accordance with Applicable Law? • Yes • No
D4.4.2.6 Continuing education.
1. Do personnel requirements include a system to document continuing education for all staff? • Yes • No
D4.5 The Quality Management Plan shall include, or summarize and reference, a comprehensive system for document control.
1. Does the Quality Management Plan include, or summarize and reference, a comprehensive system for document control? • Yes • No
D4.5.1 There shall be identification of the types of documents that are considered critical and shall comply with the document control system requirements. Controlled documents shall include at a minimum:
1. Is there identification of the types of documents that are considered critical and comply with the document control system requirements? • Yes • No
2. Do controlled documents include at a minimum: • Policies and Standard Operating Procedures. [D4.5.1.1] • Worksheets. [D4.5.1.2] • Forms. [D4.5.1.3] • Labels. [D4.5.1.4]
D4.5.2 There shall be policies or Standard Operating Procedures for development, approval, implementation, distribution, review, revision, and archival of all critical documents.
1. Are there policies and Standard Operating Procedures for the following for all critical documents: • Development? • Approval? • Implementation? • Distribution? • Review? • Revision? • Archival?
2. Submit a Standard Operating Procedure for development, approval, implementation, distribution, review, revision, and archival of all critical documents. (Must be in English)
D4.5.3.1 A standardized format for critical documents.
1. Does the document control system include a standardized format for critical documents? • Yes • No
2. Submit a Standard Operating Procedure(s) that outlines a standardized format for policies, Standard Operating Procedures, worksheets, forms, and labels and required elements of each procedure. (Must be in English)
D4.5.3.2 Assignment of a numeric or an alphanumeric identifier and a title to each document and document version regulated within the system.
1. Does the document control system include assignment of a numeric or an alphanumeric identifier and a title to each document and document version regulated within the system? • Yes • No
D4.5.3.3 A system for document approval, including the approval date, signature of approving individual(s), and the effective date.
1. Does the document control system include a system for document approval that includes: • Approval date? • Signature of approving individual(s)? • Effective date?
D4.5.3.4 A system to protect controlled documents from accidental or unauthorized modification.
1. Does the document control system include a system to protect controlled documents from accidental or unauthorized modification? • Yes • No
D4.5.3.5 Review of controlled documents every two (2) years at a minimum.
1. Does the document control system include review of controlled documents every two (2) years at a minimum? • Yes • No
D4.5.3.6 A system for document change control that includes a description of the change, version, the signature of approving individual(s), approval date(s), communication or training on the changes as applicable, effective date, and archival date.
1. Does the document control system include a system for document change control that includes: • Description of the change? • Version? • Signature of approving individual(s)? • Approval date(s)? • Communication or training on the changes as applicable? • Effective date? • Archival date?
D4.5.3.7 Archival of controlled documents including policies and Standard Operating Procedures, the inclusive dates of use, and their historical sequence for a minimum of ten (10) years from archival or according to governmental or institutional policy, whichever is longer.
1. Does the document control system include archival of controlled documents including policies and Standard Operating Procedures, the inclusive dates of use, and their historical sequence for a minimum of ten (10) years from archival or according to governmental or institutional policy, whichever is longer? • Yes • No
D4.5.3.8 A system for the retraction of obsolete documents to prevent unintended use.
1. Does the document control system include a system for the retraction of obsolete documents to prevent unintended use? • Yes • No
D4.6 The Quality Management Plan shall include, or summarize and reference, policies and Standard Operating Procedures for the establishment and maintenance of written agreements.
1. Does the Quality Management Plan include, or summarize and reference, policies and Standard Operating Procedures for the establishment and maintenance of written agreements? • Yes • No • Yes, but no written agreements are currently in place
D4.6.1 Agreements shall be established with external parties providing critical services that could affect the quality and safety of the cellular therapy product or health and safety of the donor or recipient.
1. Are agreements established with external parties providing critical services that could affect the quality and safety of the cellular therapy product or health and safety of the donor or recipient? • Yes • No
D4.6.2 Agreements shall include the responsibility of the external party performing any step in processing, testing, storage, distribution, or administration to maintain required accreditations and to comply with these Standards and Applicable Law.
1. Do agreements include the responsibility of the external party performing any step in processing, testing, storage, distribution, or administration to maintain required accreditations and to comply with these Standards and Applicable Law? • Yes • No
D4.6.3 Agreements shall be established when the Processing Facility provides critical services to external parties.
1. Are agreements established when the Processing Facility provides critical services to external parties? • Yes • No
D4.6.4 Agreements shall be dated and reviewed on a regular basis, at a minimum every two (2) years.
1. Are agreements dated and reviewed on a regular basis, at a minimum every two (2) years? • Yes • No
D4.7 The Quality Management Plan shall include, or summarize and reference, policies and Standard Operating Procedures for review of outcome analysis and cellular therapy product efficacy to verify that the procedures in use consistently provide a safe and effective product.
1. Does the Quality Management Plan include, or summarize and reference, policies and Standard Operating Procedures for review of outcome analysis and cellular therapy product efficacy to verify that the procedures in use consistently provide a safe and effective product? • Yes • No
2. Submit evidence of a completed outcome analysis, e.g., a report of conclusions, meeting minutes, or completed forms. (Must be in English)
D4.7.1 Criteria for cellular therapy product safety, efficacy, and the clinical outcome, as appropriate, shall be determined and shall be reviewed at regular time intervals.
1. Are criteria for cellular therapy product safety, efficacy, and the clinical outcome, as appropriate, determined and reviewed at regular time intervals? • Yes • No
D4.7.2 Both individual cellular therapy product data and aggregate data for each type of cellular therapy product shall be evaluated.
1. Are both individual cellular therapy product data and aggregate data for each type of cellular therapy product evaluated? • Yes • No
D4.7.3.1 An endpoint of clinical function as approved by the Clinical Program Director.
1. Does review of outcome analysis and/or product efficacy include an endpoint of clinical function as approved by the Clinical Program Director? • Yes • No
D4.7.3.2 Overall and treatment-related morbidity and mortality at thirty (30) days, one hundred (100) days, and one (1) year after cellular therapy product administration or in accordance with Applicable Law.
1. Does review of outcome analysis and/or product efficacy include overall and treatment-related morbidity and mortality at thirty (30) days, one hundred (100) days, and one (1) year after cellular therapy product administration or in accordance with Applicable Law? • Yes • No
D4.7.4 Data on outcome analysis and cellular therapy product efficacy, including adverse events related to the recipient, donor, or product, shall be provided in a timely manner to entities involved in the collection, processing, or distribution of the cellular therapy product.
1. Is data on outcome analysis and cellular therapy product efficacy, including adverse events related to the recipient, donor, or product, provided in a timely manner to entities involved in the collection, processing, or distribution of the cellular therapy product? • Yes • No
D4.8 The Quality Management Plan shall include, or summarize and reference, policies and Standard Operating Procedures for, and a schedule of, audits of the Processing Facility's activities to verify compliance with the Quality Management Program, operational policies and Standard Operating Procedures, these Standards, and Applicable Law.
1. Does the Quality Management Plan include, or summarize and reference, policies and Standard Operating Procedures for, and a schedule of, audits of the Processing Facility's activities to verify compliance with the Quality Management Program, operational policies and Standard Operating Procedures, these Standards, and Applicable Law? • Yes • No
2. Submit a schedule of audits that includes dates and subjects of audits already performed and audits planned for the future. At a minimum, the audits listed in D4.8.3 must be included.
3. Submit a report from a recently completed audit under D4.8.3 (within the past 12 months). Refer to the Data Management Resource Center for information on the minimal requirements of an audit report and examples of audit templates. (Must be in English)
D4.8.1 Audits shall be conducted by an individual with sufficient knowledge of the process and competence in auditing to identify problems, but who is not solely responsible for the process being audited.
1. Are audits conducted by an individual with sufficient knowledge of the process and competence in auditing to identify problems, but who is not solely responsible for the process being audited? • Yes • No
D4.8.2 The results of audits shall be used to recognize problems, detect trends, identify improvement opportunities, implement corrective and preventive actions when necessary, and follow-up on the effectiveness of these actions in a timely manner.
1. Are the results of audits used to: • Recognize problems? • Detect trends? • Identify improvement opportunities? • Implement corrective and preventive actions when necessary? • Follow-up on the effectiveness of these actions in a timely manner?
D4.8.3.1 Management of cellular therapy products with positive microbial culture results.
1. Does the Processing Facility audit the management of cellular therapy products with positive microbial culture results? • Yes • No
D4.8.3.2 Infectious disease resulting from cellular therapy product collection, processing, or administration.
1. Does the Processing Facility audit the infectious disease resulting from cellular therapy product collection, processing, or administration? • Yes • No
D4.8.3.3 Documentation that external facilities performing critical contracted services have met the requirements of the written agreements.
1. Does the Processing Facility audit the documentation that external facilities performing critical contracted services have met the requirements of the written agreements? • Yes • No
D4.8.3.4 Chain of identity and chain of custody of cellular therapy products.
1. Does the Processing Facility audit the chain of identity and chain of custody of cellular therapy products? • Yes • No
D4.8.4 There shall be policies or Standard Operating Procedures for the management of external audits requested by the commercial manufacturer or applicable regulatory agency.
1. Are there policies or Standard Operating Procedures for the management of external audits requested by the commercial manufacturer or applicable regulatory agency? • Yes • No
D4.9 The Quality Management Plan shall include, or summarize and reference, policies and Standard Operating Procedures for the management of cellular therapy products with positive microbial culture results and responsibility for the following activities at a minimum:
1. Does the Quality Management Plan include, or summarize and reference, policies and Standard Operating Procedures for the management of cellular therapy products with positive microbial culture results? • Yes • No
D4.9.1 Documentation and product labeling.
1. Do the policies and Standard Operating Procedures on the management of cellular therapy products with positive microbial culture results address documentation and product labeling? • Yes • No
D4.9.2 Cellular therapy product quarantine.
1. Do the policies and Standard Operating Procedures on the management of cellular therapy products with positive microbial culture results address cellular therapy product quarantine? • Yes • No
D4.9.3 Criteria for cellular therapy product release.
1. Do the policies and Standard Operating Procedures on the management of cellular therapy products with positive microbial culture results address criteria for cellular therapy product release? • Yes • No
D4.9.4 Identification of individuals authorized to approve release, including the Processing Facility Medical Director at a minimum.
1. Do the policies and Standard Operating Procedures on the management of cellular therapy products with positive microbial culture results address identification of individuals authorized to approve release, including the Processing Facility Medical Director at a minimum? • Yes • No
D4.9.5 Notification of the recipient, recipient's physician, collection staff, and any other facility in receipt of the cellular therapy product; and if relevant, the donor and the sponsor.
1. Do the policies and Standard Operating Procedures on the management of cellular therapy products with positive microbial culture results address notification of the: • Recipient? • Recipient's physician? • Collection staff? • Any other facility in receipt of the cellular therapy product? • If relevant, the donor and the sponsor?
D4.9.6 Recipient follow-up.
1. Do the policies and Standard Operating Procedures on the management of cellular therapy products with positive microbial culture results address recipient follow-up? • Yes • No
D4.9.7 Follow-up of the donor, if relevant.
1. Do the policies and Standard Operating Procedures on the management of cellular therapy products with positive microbial culture results address follow-up of the donor, if relevant? • Yes • No
D4.9.8 Documentation and investigation of cause.
1. Do the policies and Standard Operating Procedures on the management of cellular therapy products with positive microbial culture results address documentation and investigation of cause? • Yes • No
D4.9.9 Reporting to regulatory agencies, as required by Applicable Law
1. Do the policies and Standard Operating Procedures on the management of cellular therapy products with positive microbial culture results address reporting to regulatory agencies, as required by Applicable Law? • Yes • No
D4.10 The Quality Management Plan shall include, or summarize and reference, policies and Standard Operating Procedures for occurrences (errors, accidents, deviations, adverse events, adverse reactions, and complaints). The following activities shall be included at a minimum:
1. Does the Quality Management Plan include, or summarize and reference, policies and Standard Operating Procedures for Occurrences? • Yes • No
D4.10.1 Detection.
1. Do policies and Standard Operating Procedures include methods for detection? • Yes • No
D4.10.2 Investigation.
1. Do policies and Standard Operating Procedures include methods for investigation? • Yes • No
D4.10.2.1 A thorough and timely investigation shall be conducted by the Processing Facility in collaboration with all entities involved in the collection, manufacture, testing, or administration of the cellular therapy product, as appropriate.
1. Is a thorough and timely investigation conducted by the Processing Facility in collaboration with all entities involved in the collection, manufacture, testing, or administration of the cellular therapy product, as appropriate? • Yes • No
D4.10.2.2 Investigations shall identify the root cause and a plan for short- and long-term corrective and preventive action as warranted.
1. Do investigations identify the root cause and a plan for short- and long-term corrective actions as warranted? • Yes • No
D4.10.2.3 Occurrences shall be tracked and trended.
1. Are occurrences tracked and trended? • Yes • No
D4.10.3 Documentation.
1. Do policies and Standard Operating Procedures include methods for documentation? • Yes • No
D4.10.3.1 Documentation shall include a description of the occurrence, date and time of the occurrence, the involved individuals and cellular therapy product(s), when and to whom the occurrence was reported, and the immediate actions taken.
1. Does documentation include: • Description of the occurrence? • Date and time of the occurrence? • Involved individuals and cellular therapy product(s)? • When and to whom the occurrence was reported? • Immediate actions taken?
D4.10.3.2 All investigation reports shall be reviewed in a timely manner by the Processing Facility Director, Medical Director, and Quality Manager.
1. Are all investigation reports reviewed in a timely manner by the Processing Facility Director, Medical Director, and Quality Manager? • Yes • No
D4.10.3.3 Cumulative files shall be maintained and include written investigation reports containing conclusions, follow-up, corrective and preventive actions, and a link to the records of the involved cellular therapy products, donors, and recipients, if applicable.
1. Do cumulative files maintain and include written investigation reports containing: • Conclusions? • Follow-up? • Corrective actions? • Preventive actions? • A link to the records of the involved cellular therapy products, donors, and recipients, if applicable?
D4.10.4 Reporting.
1. Do policies and Standard Operating Procedures include methods for reporting? • Yes • No
D4.10.4.1 When it is determined that a cellular therapy product has resulted in an adverse event or reaction, the event and results of the investigation shall be reported to the donor's and recipient's physician(s), as applicable, other facilities participating in the manufacturing of the cellular therapy product, registries, and governmental agencies as required by Applicable Law.
1. When it is determined that a cellular therapy product resulted in an adverse event or reaction, are the event and results of the investigation reported as required by Applicable Law to the: • Donor's physician? • Recipient's physician? • Other facilities participating in the manufacturing of the cellular therapy product? • Registries? • Governmental agencies?
D4.10.4.2 Occurrences shall be reported as required to other facilities performing cellular therapy product functions on the affected cellular therapy product.
1. Are occurrences reported as required to other facilities performing cellular therapy product functions on the affected cellular therapy product? • Yes • No
D4.10.4.3 Occurrences shall be reported as required to the appropriate regulatory and accrediting agencies, registries, grant agencies, and Institutional Review Boards or Ethics Committees.
1. Are occurrences reported as required to: • Appropriate regulatory and accrediting agencies? • Registries? • Grant agencies? • Institutional Review Boards? • Ethics Committees?
D4.10.5 Corrective and preventive action.
1. Do policies and Standard Operating Procedures include methods for corrective and preventive action? • Yes • No
D4.10.5.1 Appropriate action shall be implemented if indicated, including both short-term action to address the immediate problem and long-term action to prevent the problem from recurring.
1. Are appropriate actions implemented if indicated? • Yes • No
2. Do appropriate actions include both short-term action to address the immediate problem and long-term action to prevent the problem from recurring? • Yes • No
D4.10.5.2 Follow-up audits of the effectiveness of corrective and preventive action shall be performed in a timeframe as indicated in the investigative report.
1. Are follow-up audits of the effectiveness of corrective and preventive action performed in a timeframe as indicated in the investigative report? • Yes • No
D4.11 The Quality Management Plan shall include, or summarize and reference, policies and Standard Operating Procedures for cellular therapy product chain of identity and chain of custody that allow tracking from the donor to the recipient or final disposition and tracing from the recipient or final disposition to the donor.
1. Does the Quality Management Plan include, or summarize and reference, policies and Standard Operating Procedures for cellular therapy product chain of identity and chain of custody that allow tracking from the donor to the recipient or final disposition and tracing from the recipient or final disposition to the donor? • Yes • No
D4.12 The Quality Management Plan shall include, or summarize and reference, policies and Standard Operating Procedures for actions to take in the event the Processing Facility's operations are interrupted.
1. Does the Quality Management Plan include, or summarize and reference, policies and Standard Operating Procedures for actions to take in the event the Processing Facility's operations are interrupted? • Yes • No
D4.13 The Quality Management Plan shall include, or summarize and reference, policies and Standard Operating Procedures for qualification of critical manufacturers, vendors, equipment, software, supplies, reagents, facilities, and services relevant to the cellular therapy product.
1. Does the Quality Management Plan include, or summarize and reference, policies and Standard Operating Procedures for qualification of critical manufacturers, vendors, equipment, software, supplies, reagents, facilities, and services relevant to the cellular therapy product? • Yes • No
2. Submit the policy or Standard Operating Procedure for qualification of critical manufacturers, vendors, equipment, software, supplies, reagents, facilities, and services relevant to the cellular therapy product. (Must be in English)
D4.13.1 Qualification plans shall include minimum acceptance criteria for performance.
1. Do qualification plans include minimum acceptance criteria for performance? • Yes • No
D4.13.2 Qualification shall be required following any significant changes to these items.
1. Is qualification required following any significant changes to these items? • Yes • No
D4.13.3 Qualification plans, results, reports, and conclusions shall be reviewed and approved by the Quality Manager and Processing Facility Director.
1. Are qualification plans, results, and reports reviewed and approved by the Quality Manager and Processing Facility Director? • Yes • No
D4.13.4 Reagents that are not the appropriate grade shall undergo qualification for the intended use.
1. Do reagents that are not the appropriate grade undergo qualification for the intended use? • Yes • No • Reagents that are not the appropriate grade are not used
D4.14 The Quality Management Plan shall include, or summarize and reference, policies and Standard Operating Procedures for validation or verification of critical procedures.
1. Does the Quality Management Plan include, or summarize and reference, policies and Standard Operating Procedures for validation or verification of critical procedures? • Yes • No
2. Submit the policy or Standard Operating Procedure for the validation or verification of critical procedures. (Must be in English)
3. Submit a validation or verification study of a critical procedure (processing techniques, cryopreservation procedures, testing, labeling, storage, distribution, and preparation for administration) of the Processing Facility that includes: - An approved plan, including conditions to be assessed- Acceptance criteria- Data collection- Evaluation of data- Summary of results - References, if applicable- Review and approval of the plan, report, and conclusion by the Quality Manager and the Processing Facility Director. (Must be in English)
D4.14.1 Critical procedures to be validated shall include at least processing techniques, cryopreservation procedures, testing, labeling, storage, distribution, and preparation for administration.
1. Do critical procedures to be validated include at least: • Processing techniques? • Cryopreservation procedures? • Testing? • Labeling? • Storage? • Distribution? • Preparation for administration?
D4.14.2.1 An approved plan, including conditions to be assessed.
1. Does each validation or verification include an approved plan, including conditions to be assessed? • Yes • No
D4.14.2.2 Acceptance criteria.
1. Does each validation or verification include acceptance criteria? • Yes • No
D4.14.2.3 Data collection.
1. Does each validation or verification include data collection? • Yes • No
D4.14.2.4 Evaluation of data.
1. Does each validation or verification include evaluation of data? • Yes • No
D4.14.2.5 Summary of results.
1. Does each validation or verification include a summary of results? • Yes • No
D4.14.2.6 References, if applicable.
1. Does each validation or verification include references, if applicable? • Yes • No
D4.14.2.7 Review and approval of the plan, report, and conclusion by the Processing Facility Director and Quality Manager.
1. Does each validation or verification include review and approval of the plan, report, and conclusion by the Processing Facility Director and Quality Manager? • Yes • No
D4.14.3 Significant changes to critical procedures shall be validated or verified as appropriate.
1. Are significant changes to critical procedures validated or verified as appropriate? • Yes • No
D4.15 The Quality Management Plan shall include, or summarize and reference, policies and Standard Operating Procedures for the evaluation of risk in changes to a process to confirm that the changes do not create an adverse impact or inherent risk elsewhere in the operation.
1. Does the Quality Management Plan include, or summarize and reference, policies and Standard Operating Procedures for the evaluation of risk in changes to a process confirm that the changes do not create an adverse impact or inherent risk elsewhere in the operation? • Yes • No
D4.15.1 Evaluation of risk shall be completed for changes in critical procedures.
1. Is the evaluation of risk completed for changes in critical procedures? • Yes • No
D4.16 The Processing Facility Director shall review the quality management activities with representatives in key positions in all areas of the cellular therapy program, at a minimum, quarterly.
1. Does the Processing Facility Director review the quality management activities with representatives in key positions in all areas of the cellular therapy program, at a minimum, quarterly? • Yes • No
D4.16.1 Meetings shall have defined attendees, documented minutes, and assigned actions.
1. Do meetings have defined attendees, documented minutes, and assigned actions? • Yes • No
D4.16.2 Performance data and review findings shall be reported to key positions and staff.
1. Are performance data and review findings reported to key positions and staff? • Yes • No
D4.16.3 The Processing Facility Director shall not approve their own work.
1. Does the Processing Facility Director perform other tasks in the Processing Facility? • Yes • No
2. Is the Processing Facility Director or designee restricted from having oversight of his/her own work? • Yes • No
D4.17 The Processing Facility Director or designee shall annually review the effectiveness of the Quality Management Program.
1. Does the Processing Facility Director annually review the effectiveness of the Quality Management Program? • Yes • No
2. Submit a copy of the most recently completed Annual Report on the effectiveness of the Quality Management Program.
D4.17.1 The annual report and documentation of the review findings shall be made available to key personnel, the Clinical Program Director, the Collection Services personnel, and staff of the program.
1. Is the annual report and documentation of the review findings made available to key personnel, the Clinical Program Director, the Collection Services personnel, and staff of the program? • Yes • No
D5.1 The Processing Facility shall establish and maintain policies or Standard Operating Procedures addressing critical aspects of operations and management in addition to those required in D4. These documents shall include all elements required by these Standards and shall address at a minimum:
1. Does the Processing Facility establish and maintain policies or Standard Operating Procedures addressing critical aspects of operations and management in addition to those required in D4? • Yes • No
2. Do these documents include all elements required by these Standards? • Yes • No
3. Do these documents address the following: • Donor and recipient confidentiality. [D5.1.1] • Cellular therapy product receipt. [D5.1.2] • Processing and process control. [D5.1.3] • Appropriate processing procedures for specific cellular therapy products, including cryopreservation and thawing. [D5.1.3.1] • Processing of ABO-incompatible cellular therapy products to include a description of the indication for and processing methods to be used for plasma and red blood cell reduction. [D5.1.4] • Prevention of mix-ups and cross-contamination. [D5.1.5] • Labeling (including associated forms and samples). [D5.1.6] • Cellular therapy product expiration dates. [D5.1.7] • Cellular therapy product storage to include alternative storage if the primary storage device fails. [D5.1.8] • Release and exceptional release. [D5.1.9] • Packaging, transportation, and shipping, including methods and conditions within the Processing Facility and to and from external facilities. [D5.1.10] • Cellular therapy product recall, to include a description of responsibilities and actions to be taken, and notification of appropriate regulatory agencies. [D5.1.11] • Cellular therapy product disposal. [D5.1.12] • Critical equipment, reagent, and supply management, including recalls and corrective actions in the event of failure. [D5.1.13] • Equipment operation, maintenance, and monitoring, including corrective actions in the event of failure. [D5.1.14] • Cleaning and sanitation procedures including identification of the individuals responsible for the activities. [D5.1.15] • Environmental control to include a description of the environmental monitoring plan. [D5.1.16] • Hygiene and use of personal protective equipment and attire. [D5.1.17] • Disposal of medical and biohazard waste. [D5.1.18] • Processing Facilities utilizing genetically modified cellular therapy products shall incorporate or reference institutional or regulatory requirements related to the disposal of genetic material. [D5.1.18.1] • Cellular therapy emergency and disaster plan, including the Processing Facility response. [D5.1.19] • Response to emerging disease agents, including donor evaluation, product assessment and labeling, and personnel safety. [D5.1.20]
4. Submit the complete cryopreservation and thawing Standard Operating Procedure(s) that includes the directions for cryopreservation and preparation of the cryoprotectant solution. (Must be in English) [D5.1.3.1]
5. Submit the Standard Operating Procedure(s) for release and exceptional release. (Must be in English) [D5.1.9]
D5.2 The Processing Facility shall maintain a detailed list of all controlled documents, including title and identifier.
1. Does the Processing Facility maintain a detailed list of all controlled documents, including title and identifier? • Yes • No
2. Submit a Table of Contents from the Processing Facility's Policy and Standard Operating Procedures Manual that includes the title and identifier for each controlled document. (Must be in English)
D5.3 Standard Operating Procedures shall be sufficiently detailed and unambiguous to allow qualified staff to follow and complete the procedures successfully. Each Standard Operating Procedure shall include:
1. Are Standard Operating Procedures sufficiently detailed and unambiguous to allow qualified staff to follow and complete the procedures successfully? • Yes • No
2. Does each individual Standard Operating Procedure include the following: • A clearly written description of the objectives. [D5.3.1] • A description of equipment, reagents, and supplies used. [D5.3.2] • Acceptable endpoints and the range of expected results. [D5.3.3] • A stepwise description of the procedure. [D5.3.4] • Reference to other Standard Operating Procedures or policies required to perform the procedure. [D5.3.5] • A reference section listing appropriate and current literature. [D5.3.6] • Documented approval of each procedure by the Processing Facility Director or Medical Director, as appropriate, prior to implementation and every two (2) years thereafter. [D5.3.7] • Documented approval of each modification to a Standard Operating Procedure by the Processing Facility Director or Medical Director, as appropriate, prior to implementation. [D5.3.8] • Reference to the current version of orders, worksheets, reports, labels, and forms. [D5.3.9]
D5.4 Controlled documents relevant to processes being performed shall be readily available to the facility staff.
1. Are controlled documents relevant to processes being performed readily available to the facility staff? • Yes • No
D5.5 Staff review and, if appropriate, competency shall be documented before performing a new or revised Standard Operating Procedure.
1. Does staff review and, if appropriate, document competency before performing a new or revised Standard Operating Procedure? • Yes • No
D5.6 All personnel shall follow the policies and Standard Operating Procedures related to their positions.
1. Do all personnel follow the policies and Standard Operating Procedures related to their positions? • Yes • No
D5.7 Planned deviations shall be pre-approved by the appropriate Processing Facility Director or Medical Director and reviewed by the Quality Manager.
1. Are planned deviations pre-approved by the appropriate Processing Facility Director or Medical Director? • Yes • No
2. Are planned deviations reviewed by the Quality Manager? • Yes • No
D6.1 Equipment, supplies, and reagents used to process cellular therapy products shall be qualified and used in a manner that maintains product function and integrity and minimizes risks of product mix-ups, contamination, and cross-contamination.
1. Are equipment, supplies, and reagents used to process cellular therapy products qualified and used in a manner that maintains product function and integrity and minimizes risks of product mix-ups, contamination, and cross-contamination? • Yes • No
2. Are liquid nitrogen freezers: • Qualified? • Maintained in accordance with the requirements of the manufacturer, facility, and these Standards?
3. Are liquid nitrogen freezer monitoring alarm systems: • Qualified? • Maintained in accordance with the requirements of the manufacturer, facility, and these Standards?
4. Are dry shippers and other equipment used to transport cryopreserved cellular therapy products to an external entity or to the Clinical Program: • Qualified? • Maintained in accordance with the requirements of the manufacturer, facility, and these Standards?
5. If under the responsibility of the Processing Facility, are water baths or equivalent: • Qualified and maintained in accordance with the requirements of the manufacturer, facility, and these Standards? • The Processing Facility is not responsible for water baths or equivalent.
D6.2 There shall be adequate equipment and materials for the procedures performed.
1. Is there adequate equipment and materials for the procedures performed? • Yes • No
D6.3 Supplies and reagents used in processing, testing, cryopreservation, and storage shall be controlled by a materials management system that includes requirements for the following, at a minimum:
1. Are supplies and reagents used in processing, testing, cryopreservation, and storage controlled by a materials management system? • Yes • No
D6.3.1 Visual examination of each supply and reagent used to manufacture cellular therapy products for damage or evidence of contamination upon receipt and acceptance into inventory.
1. Does the materials management system require visual examination of each supply and reagent used to manufacture cellular therapy products for damage or evidence of contamination upon receipt and acceptance into inventory? • Yes • No
2. Submit completed examples of documentation of the visual examination of supplies and reagents used to manufacture cellular therapy products. (Must be in English).
D6.3.2 Records of receipt that include the supply or reagent type, quantity, manufacturer, lot number, date of receipt, acceptability, and expiration date.
1. Does the materials management system require records of receipt that includes the: • Supply or reagent type? • Quantity? • Manufacturer? • Lot number? • Date of receipt? • Acceptability? • Expiration date?
D6.3.3 Storage of materials under the appropriate environmental conditions in a secure, sanitary, and orderly manner to prevent mix-up or unintended use.
1. Does the materials management system require storage of materials under the appropriate environmental conditions in a secure, sanitary, and orderly manner to prevent mix-ups or unintended use? • Yes • No
D6.3.4 Use of supplies and reagents coming into contact with cellular therapy products during processing, storage, or administration that are sterile and of the appropriate grade for the intended use.
1. Does the materials management system require use of supplies and reagents coming into contact with cellular therapy products during processing, storage, or administration that are sterile and of the appropriate grade for the intended use? • Yes • No
D6.3.4.1 Reagents shall undergo initial qualification for the intended use.
1. Do reagents undergo initial qualification for the intended use? • Yes • No
D6.3.4.2 Where there are no suitable clinical or pharmaceutical grade reagents available, reagents shall undergo lot-to-lot functional verification.
1. Where there are no suitable clinical or pharmaceutical grade reagents available, do reagents undergo lot-to-lot functional verification? • Yes • No
D6.3.4.3 Lot-to-lot functional verification shall include acceptance criteria to confirm that new lots perform as expected compared to the previous lots.
1. Does lot-to-lot functional verification include acceptance criteria to confirm that new lots perform as expected compared to previous lots? • Yes • No
D6.3.5 Cleaning and sterilizing of non-disposable supplies or instruments using a procedure verified to remove infectious agents and other contaminants.
1. Does the materials management system require cleaning and sterilizing of non-disposable supplies or instruments using a procedure verified to remove infectious agents and other contaminants? • Yes • No
D6.3.6 Use of supplies and reagents in a manner consistent with manufacturer instructions.
1. Does the materials management system require use of supplies and reagents in a manner consistent with manufacturer instructions? • Yes • No
D6.3.7 Process to prevent the use of expired reagents and supplies.
1. Does the materials management system require a process to prevent the use of expired reagents and supplies? • Yes • No
D6.4 There shall be a system to uniquely identify and track all critical equipment used in the processing of cellular therapy products. The system shall identify each cellular therapy product for which the equipment was used.
1. Is there a system to uniquely identify and track all critical equipment used in the processing of cellular therapy products? • Yes • No
2. Does the system identify each cellular therapy product for which the equipment was used? • Yes • No
D6.5 Equipment used in cellular therapy product processing, testing, cryopreservation, storage, and distribution shall be maintained in a clean and orderly manner and located to facilitate cleaning, sanitation, calibration, and maintenance according to established schedules.
1. Is equipment used in cellular therapy product processing, testing, cryopreservation, storage, and distribution maintained in a clean and orderly manner? • Yes • No
2. Is the equipment located to facilitate cleaning, sanitation, calibration, and maintenance according to established schedules? • Yes • No
3. Submit a policy or SOP for cleaning, sanitation, calibration, and maintenance of equipment used in cellular therapy product processing, testing, cryopreservation, storage, and distribution. (Must be in English)
D6.6 Equipment shall be inspected for cleanliness and verified to be in compliance with the maintenance schedule prior to each use.
1. Is the equipment inspected for cleanliness and verified to be in compliance with the maintenance schedule prior to each use? • Yes • No
2. Submit a sample log of equipment inspection for cleanliness and compliance with the maintenance schedule prior to each use. (Must be in English)
D6.7 Equipment shall be standardized and calibrated on a regularly scheduled basis and after a critical repair or move as described in Standard Operating Procedures and in accordance with the manufacturer's recommendations.
1. Is equipment standardized and calibrated as described in Standard Operating Procedures and in accordance with the manufacturer's recommendations at the following times: • On a regularly scheduled basis? • After a critical repair? • After a critical move?
D6.7.1 All equipment with a critical measuring function shall be calibrated against a traceable standard, if available. Where no traceable standard is available, the basis for calibration shall be described and documented.
1. Is all equipment with a critical measuring function calibrated against a traceable standard, if available? • Yes • No
2. Where no traceable standard is available, is the basis for calibration described and documented? • Yes • No
3. Are storage freezer monitoring and alarm systems periodically calibrated? • Yes • No
D6.7.2 When equipment is found to be out of calibration or specification, there shall be a defined process for action required for cellular therapy products manufactured since the last calibration.
1. When equipment is found to be out of calibration or specification, is there a defined process for action required for cellular therapy products manufactured since the last calibration? • Yes • No
D6.8 There shall be a Standard Operating Procedure that addresses the actions to take in the event of equipment malfunction or failure.
1. Is there a Standard Operating Procedure that addresses the actions to take in the event of equipment malfunction or failure? • Yes • No
D6.9 Equipment shall conform to Applicable Law.
1. Does equipment conform to Applicable Law? • Yes • No
D6.10 Lot numbers, expiration dates, manufacturers, and key equipment identifiers used in each procedure shall be documented.
1. Are lot numbers, expiration dates, manufacturers, and key equipment identifiers used in each procedure documented? • Yes • No
D6.11 The Processing Facility shall use an inventory control system to document the availability and identity of critical reagents and supplies. This shall include at a minimum:
1. Does the Processing Facility use an inventory control system to document the availability and identity of critical reagents and supplies? • Yes • No
D6.11.1 A system to uniquely identify and track all critical reagents and supplies used to manufacture cellular therapy products.
1. Does the inventory control system include a system to uniquely identify and track all critical reagents and supplies used to manufacture cellular therapy products? • Yes • No
D6.11.2 A system to identify each cellular therapy product for which each critical reagent or supply was used.
1. Does the inventory control system include a system to identify each cellular therapy product for which each critical reagent or supply was used? • Yes • No
D6.11.3 A system to maintain adequate stocks of reagents and supplies for the procedures to be performed.
1. Does the inventory control system include a system to maintain adequate stocks of reagents and supplies for the procedures to be performed? • Yes • No
D7.1.1 Cellular therapy products shall be identified by name according to ISBT 128 standard terminology.
1. Are cellular therapy products identified by name according to ISBT 128 standard terminology? • Yes • No
D7.1.2 Coding and labeling technologies shall be implemented using ISBT 128.
1. Are coding and labeling technologies implemented using ISBT 128? • Yes • No
2. Submit a summary of one completed validation of the ISBT 128 labeling system that includes: - An approved plan, including conditions to be assessed - Acceptance criteria - Data collection - Evaluation of data - Summary of results - References, if applicable- Review and approval of the plan, report, and conclusion by the Quality Manager and the Processing Facility Director. (Must be in English) • No
D7.2.1 Labeling operations shall be conducted in a manner adequate to prevent mislabeling or misidentification of cellular therapy products, product samples, and associated records.
1. Are labeling operations conducted in a manner adequate to prevent mislabeling or misidentification of cellular therapy products, product samples, and associated records? • Yes • No
D7.2.2 Pre-printed labels shall be held upon receipt from the manufacturer pending review and proofing against a copy or template approved by the Processing Facility Director to confirm accuracy regarding identity, content, and conformity.
1. Are pre-printed labels held upon receipt from the manufacturer pending review and proofing against a copy or template approved by the Processing Facility Director to confirm accuracy regarding identity, content, and conformity? • Yes • No • The facility uses a print-on-demand labeling system
D7.2.2.1 Stocks of unused labels representing different cellular therapy products shall be stored in a controlled manner to prevent errors.
1. Are stocks of unused labels representing different cellular therapy products stored in a controlled manner to prevent errors? • Yes • No • The facility uses a print-on-demand labeling system and does not have stocks of unused labels
D7.2.3 A system of label reconciliation shall be used to ensure the final disposition of all labels allocated to a specific product is documented.
1. Is a system of label reconciliation used to ensure the final disposition of all labels allocated to a specific product are documented? • Yes • No
D7.2.4 Label systems shall be validated to confirm accuracy regarding identity, content, and conformity of labels to templates approved by the Processing Facility Director.
1. Are label systems validated to confirm accuracy regarding identity, content, and conformity of labels to templates approved by the Processing Facility Director? • Yes • No • This facility uses pre-printed labels
D7.2.4.1 Obsolete labels shall be restricted from use.
1. Are obsolete labels restricted from use? • Yes • No • The facility uses a print-on-demand labeling system and does not have stocks of unused labels
D7.2.5 A system for label version control shall be employed.
1. Is a system for label version control employed? • Yes • No
D7.2.5.1 Representative obsolete labels shall be archived minimally for ten (10) years after the last cellular therapy product was distributed with inclusive dates of use or as defined by Applicable Law, whichever is longer.
1. Are representative obsolete labels archived minimally for ten (10) years after the last cellular therapy product was distributed with inclusive dates of use or as defined by Applicable Law, whichever is longer? • Yes • No
D7.2.6 A system of checks in labeling procedures shall be used to prevent errors in transferring information to labels.
1. Is a system of checks in labeling procedures used to prevent errors in transferring information to labels? • Yes • No
D7.2.6.1 The information entered on a container label shall be verified by one (1) qualified staff member using a validated process or two (2) qualified staff members prior to distribution of the cellular therapy product.
1. Is the information entered on a container label verified by one (1) qualified staff member using a validated process or two (2) qualified staff members prior to distribution of the cellular therapy product? • Yes, information is verified by one (1) qualified staff member using a validated process • Yes, the information is verified by two (2) qualified staff members • No
D7.2.6.2 A controlled labeling procedure consistent with Applicable Law shall be defined and followed if container label information is transmitted electronically during a labeling process. This procedure shall include a verification step.
1. Is a controlled labeling procedure consistent with Applicable Law defined and followed if container label information is transmitted electronically during a labeling process? • Yes • No • Container label information is not transmitted electronically
2. Does this procedure include a verification step? • Yes • No
D7.2.6.3 Cellular therapy products that are subsequently re-packaged into new containers shall be labeled with new labels before they are detached from the original container.
1. Are cellular therapy products that are subsequently re-packaged into new containers labeled with new labels before they are detached from the original container? • Yes • No • Cellular therapy products are not re-packaged into new containers
D7.2.7 When the label has been affixed to the container, a sufficient area of the container shall remain uncovered to permit inspection of the contents.
1. When the label has been affixed to the container, does a sufficient area of the container remain uncovered to permit inspection of the contents? • Yes • No
D7.2.8 Labeling elements required by Applicable Law shall be present.
1. Are labeling elements required by Applicable Law present? • Yes • No
D7.2.9 All data fields on labels shall be completed.
1. Are all data fields on labels completed? • Yes • No
D7.2.10 All labeling shall be clear, legible, and completed using ink that is indelible to all relevant agents.
1. Is all labeling: • Clear? • Legible? • Completed using ink that is indelible to all relevant agents?
D7.2.11 Labels affixed directly to a cellular therapy product bag shall be applied using appropriate materials as defined by the applicable regulatory authority.
1. Are labels affixed directly to a cellular therapy product bag applied using appropriate materials as defined by the applicable regulatory authority? • Yes • No
D7.2.12 The label shall be validated as reliable for storage under the conditions in use.
2. Is the label validated as reliable for storage under the conditions in use? • Yes • No
D7.3.1 Each cellular therapy product shall be assigned a unique numeric or alphanumeric identifier by which it will be possible to trace any cellular therapy product to its donor, all accompanying records, and its recipient or final disposition.
1. Is each cellular therapy product assigned a unique numeric or alphanumeric identifier by which it will be possible to trace any cellular therapy product to its donor, all accompanying records, and its recipient or final disposition? • Yes • No
D7.3.1.1 The cellular therapy product, product samples, concurrent plasma, and concurrently collected samples shall be labeled with the same identifier.
1. Are the cellular therapy product, product samples, concurrent plasma, and concurrently collected samples labeled with the same identifier? • Yes • No
D7.3.1.2 If a single cellular therapy product is stored in more than one (1) container, there shall be a system to identify each container.
1. If a single cellular therapy product is stored in more than one (1) container, is there a system to identify each container? • Yes • No • A single cellular therapy product is not stored in more than one container
D7.3.1.3 If cellular therapy products from the same donor are pooled, the identifier on the pooled product shall allow tracing to the original products.
1. If cellular therapy products from the same donor are pooled, does the identifier on the pooled product allow tracing to the original products? • Yes • No • Cellular therapy products from the same donor are not pooled
D7.3.1.4 Supplementary identifiers shall not obscure the original identifier.
1. Are supplementary identifiers prevented from obscuring the original identifier? • Yes • No • Supplementary identifiers are not used
D7.3.1.5 The facility associated with each identifier shall be named in the documents to accompany the cellular therapy product.
1. Is the facility associated with each identifier named in the documents to accompany the cellular therapy product? • Yes • No
D7.3.1.6 If the original identifier is replaced, documentation shall link the new identifier to the original.
1. If the original identifier is replaced, does documentation link the new identifier to the original? • Yes • No • The original identifier is not replaced
D7.4.1 At all stages of processing, the cellular therapy product shall be labeled with the proper name of the product and the unique numeric or alphanumeric identifier, at a minimum.
1. Is the cellular therapy product labeled with the proper name of the product and the unique numeric or alphanumeric identifier, at a minimum, at all stages of processing? • Yes • No
2. Submit completed examples of each type of in-process processing labels used by the Processing Facility. (Must be in English) Do not include protected health information (PHI), e.g., patient names, medical record numbers, birthdate, or other identifiers. Mock identifiers must be used.
D7.4.2 The name and address of the facility that determines that the cellular therapy product meets release criteria and the name and address of the facility that makes the product available for distribution shall either appear on the product label or accompany the product at distribution.
1. Do the name and address of the facility that determines that the cellular therapy product meets release criteria and the name and address of the facility that makes the product available for distribution either appear on the product label or accompany the product at distribution? • Yes • No
2. Submit completed examples of each type of in-process processing labels used by the Processing Facility. (Must be in English)Do not include protected health information (PHI), e.g., patient names, medical record numbers, birthdate, or other identifiers. Mock identifiers must be used.
D7.4.3 At the completion of processing and at distribution for administration, the cellular therapy product label on the primary product container and concurrent plasma container shall bear the information in the Cellular Therapy Product Labeling table in Appendix I.
1. Do processing personnel apply labels to cellular therapy products at the completion of collection? • Yes • No
2. Submit a completed example of a primary collection container label applied at completion of allogeneic product collection. Do not include protected health information (PHI), e.g., patient names, medical record numbers, birthdates, or other identifiers. Mock identifiers and names must be used. If the labels are in a language other than English, include a translation of the label elements in English.
3. Submit a completed example of a primary collection container label applied at completion of autologous product collection. Do not include protected health information (PHI), e.g., patient names, medical record numbers, birthdates, or other identifiers. Mock identifiers and names must be used. If the labels are in a language other than English, include a translation of the label elements in English.
4. Submit a completed examples of labels applied prior to transport or shipment of products, including inner container document, and outer container labels. Do not include protected health information (PHI), e.g., patient names, medical record numbers, birthdates, or other identifiers. Mock identifiers and names must be used. If the labels are in a language other than English, include a translation of the label elements in English.
5. At the completion of processing and at distribution for administration, does the cellular therapy product label on the primary product container and concurrent plasma container bear the information in the Cellular Therapy Product Labeling table in Appendix I? • Yes, this organization collects from both allogeneic and autologous donors. • Yes, this organization collects from allogeneic donors only. • Yes, this organization collects from autologous donors only. • No
6. Submit completed examples of each type of label used by the Processing Facility and applied at completion of processing of allogeneic products, as applicable. Do not include protected health information (PHI), e.g., patient names, medical record numbers, birthdates, or other identifiers. Mock identifiers and names must be used. If the labels are in a language other than English, include a translation of the label elements in English.
7. Submit completed examples of each type of label used by the Processing Facility and applied at completion of processing of autologous products, as applicable. Do not use any direct patient identifiers. Do not include protected health information (PHI), e.g., patient names, medical record numbers, birthdates, or other identifiers. Mock identifiers and names must be used. If the labels are in a language other than English, include a translation of the label elements in English.
8. Submit completed examples of each type of label used by the Processing Facility and applied prior to distribution for allogeneic products, as applicable. Do not include protected health information (PHI), e.g., patient names, medical record numbers, birthdates, or other identifiers. Mock identifiers and names must be used. If the labels are in a language other than English, include a translation of the label elements in English.
9. Submit completed examples of each type of label used by the Processing Facility and applied prior to distribution for autologous products, as applicable. Do not include protected health information (PHI), e.g., patient names, medical record numbers, birthdates, or other identifiers. Mock identifiers and names must be used. If the labels are in a language other than English, include a translation of the label elements in English.
10. Does the Processing Facility use partial labels at distribution for administration? • Yes • No
11. Are the following affixed to the partial label at distribution for administration: • Unique numeric or alphanumeric identifier? • Proper name of product? • Product code? • Approximate volume? • Name and quantity of anticoagulant and other additives? • Recommended storage temperature range?
12. Submit completed examples of each type of partial label applied by the Processing Facility. Do not use patient identifiers. Do not include protected health information (PHI), e.g., patient names, medical record numbers, birthdates, or other identifiers. Mock identifiers and names must be used. If the labels are in a language other than English, include a translation of the label elements in English.
13. Does the Processing Facility transport or ship cellular therapy products on public roads? • Yes • No
14. Submit completed examples of each type of label used by the Processing Facility for labels applied to inner and outer shipping containers for products shipped or transported on public roads, as applicable.
15. Are the following affixed to the label at completion of processing: • Unique numeric or alphanumeric identifier? • Proper name of product? • Product code? • Approximate volume? • Recommended storage temperature range? • Name and quantity of anticoagulant and other additives?
16. Are the following attached to the label at completion of processing: • Recipient name and/or identifier? • Donor identifier and (if applicable) name? • Biohazard and Warning Labels (as applicable)? • As applicable, statement NOT EVALUATED FOR INFECTIOUS SUBSTANCES? • As applicable, statement WARNING: Advise Patient of Communicable Disease Risks? • As applicable, statement WARNING: Reactive Test Results for [name of disease agent or disease]? • Statement Do Not Irradiate? • Statement FOR AUTOLOGOUS USE ONLY (if applicable)?
17. Do the following accompany the cellular therapy product at completion of processing: • Identity and address of processing and distribution facility(ies)? • Expiration Date (if applicable)? • Expiration Time (if applicable)? • ABO and Rh of donor (if applicable)? • Product attributes? • Identity and address of collection facility or donor registry?
18. Are the following affixed to the label at distribution for administration: • Unique numeric or alphanumeric identifier? • Proper name of product? • Product code? • Product attributes? • Approximate volume? • Name and quantity of anticoagulant and other additives? • Statement Do Not Irradiate? • Expiration Date (if applicable)? • Statement indicating that leukoreduction filters shall not be used? • Statement FOR AUTOLOGOUS USE ONLY (if applicable)?
19. Are the following attached to the label at distribution for administration: • As applicable, statement NOT EVALUATED FOR INFECTIOUS SUBSTANCES? • As applicable, statement WARNING: Advise Patient of Communicable Disease Risks? • As applicable, statement WARNING: Reactive Test Results for [name of disease agent or disease]? • Recipient name and/or identifier? • Recommended storage temperature range?
20. Do the following accompany the cellular therapy product at distribution for administration: • Identity and address of collection facility or donor registry? • Donor identifier and (if applicable) name? • Biohazard and Warning Labels (as applicable)? • Identity and address of processing and distribution facility(ies)? • Expiration Time (if applicable)? • ABO and Rh of donor (if applicable)? • RBC compatibility determination (if applicable)? • Date of distribution?
D7.4.4 Each label shall bear the appropriate biohazard and warning labels as found in the Circular of Information for the Use of Cellular Therapy Products, Table 2. Biohazard and Warning Labels on Cellular Therapy Products Collected, Processed, and/or Administered in the United States, or other appropriate labels as required by Applicable Law.
1. Does each label bear the appropriate biohazard and warning labels as found in the Circular of Information (COI) for the Use of Cellular Therapy Products, Table 2. Biohazard and Warning Labels on Cellular Therapy Products Collected, Processed, and/or Administered in the United States, or other appropriate labels as required by Applicable Law? • Yes • No
2. Submit an Standard Operating Procedure for labeling that includes when biohazard and/or warning labels are used, including: -Biohazard legend - Statement NOT EVALUATED FOR INFECTIOUS SUBSTANCES - Statement WARNING: Advise Patient of Communicable Disease Risks - Statement WARNING: Reactive Test Results for [name of disease agent or disease] - Statement FOR AUTOLOGOUS USE ONLY (Must be in English)
D7.4.5 A cellular therapy product collected in or designated for use in the U.S. shall be accompanied by the elements listed in the Accompanying Documents at Distribution table in Appendix III at the time it leaves the Processing Facility.
1. Is a cellular therapy product collected in or designated for use in the U.S. accompanied by the elements listed in the Accompanying Documents at Distribution table in Appendix III at the time it leaves the Processing Facility? • Yes, this organization collects from both allogeneic and autologous donors. • Yes, this organization collects from allogeneic donors only. • Yes, this organization collects from autologous donors only. • No • Cellular therapy products are not collected in or designated for use in the U.S.
2. Do the following accompany cellular therapy products collected from eligible allogeneic donors upon leaving the Processing Facility: • Statement that the donor has been determined to be eligible based upon results of donor screening and testing? • Summary of records used to make the donor-eligibility determination? • Name and address of the establishment that made the donor-eligibility determination? • Listing and interpretation of the results of all communicable disease testing performed? • Statement that the communicable disease testing was performed by a laboratory meeting regulatory requirements? • Instructions for product use to prevent the introduction, transmission, or spread of communicable diseases? • Instructions for reporting serious adverse reactions or events to the distributing facility?
3. Do the following accompany cellular therapy products collected from ineligible allogeneic donors upon leaving the Processing Facility: • Statement that the donor has been determined to be ineligible based upon results of donor screening and testing? • Summary of records used to make the donor-eligibility determination? • Name and address of the establishment that made the donor-eligibility determination? • Listing and interpretation of the results of all communicable disease testing performed? • If applicable, statement that the communicable disease testing was performed by a laboratory meeting regulatory requirements? • Statement noting the reason(s) for the determination of ineligibility? • Instructions for product use to prevent the introduction, transmission, or spread of communicable diseases? • Instructions for reporting serious adverse reactions or events to the distributing facility?
4. Do the following accompany cellular therapy products collected from allogeneic donors with incomplete donor eligibility upon leaving the Processing Facility: • Listing and interpretation of the results of all communicable disease testing performed? • If applicable, statement that the communicable disease testing was performed by a laboratory meeting regulatory requirements? • Statement that the donor-eligibility determination has not been completed? • Statement that the product must not be transplanted or infused until completion of the donor-eligibility determination, except under condition of urgent medical need? • Listing of any required screening or testing that has not yet been completed? • Results of donor screening that has been performed? • Documentation that the physician using the cellular therapy product was notified of incomplete testing or screening? • Instructions for product use to prevent the introduction, transmission, or spread of communicable diseases? • Instructions for reporting serious adverse reactions or events to the distributing facility? • Cellular therapy products are never distributed before completion of donor eligibility determination. (If any of the above options are selected, this option should not be checked)?
5. Is any donor screening or testing performed on autologous donors? • Yes • No
6. Do the following accompany cellular therapy products collected from autologous donors upon leaving the Processing Facility: • Instructions for product use to prevent the introduction, transmission, or spread of communicable diseases? • Instructions for reporting serious adverse reactions or events to the distributing facility?
7. Submit documentation that accompanies the cellular therapy product at distribution and a policy or Standard Operating Procedure that discusses the documentation that is distributed with the product. (Must be in English)
D7.4.6 Any container bearing a partial label at the time of distribution shall be accompanied by the information required by the Cellular Therapy Product Labeling table in Appendix I. Such information shall be attached securely to the cellular therapy product on a tie tag or enclosed in a sealed package to accompany the product.
1. Is any container bearing a partial label at the time of distribution accompanied by the information required by the Cellular Therapy Product labeling table in Appendix I? • Yes • No • The facility does not use partial labels
2. Is the information attached securely to the cellular therapy product on a tie tag or enclosed in a sealed package to accompany the product? • Yes • No • The facility does not use partial labels
D7.4.7 For allogeneic cellular therapy products distributed before completion of donor eligibility determination, there shall be documentation that donor eligibility determination was completed during or after distribution of the cellular therapy product and that the physician using the product was informed of the results of that determination.
1. For allogeneic cellular therapy products distributed before completion of donor eligibility determination, is there documentation that donor eligibility was completed during or after distribution of the cellular therapy product and that the physician using the product was informed of the results of that determination? • Yes • No
D7.4.8 Cellular therapy products for third-party manufacturers shall be labeled with product labels that conform to FACT requirements and Applicable Law.
1. Are cellular therapy products for third-party manufacturers labeled with product labels that conform to FACT requirements and Applicable Law? • Yes • No
D7.4.9 Cellular therapy products distributed for nonclinical purposes shall be designated and labeled as not for clinical use.
1. Are cellular therapy products distributed for nonclinical purposes designated and labeled as not for clinical use? • Yes • No
D8.1 There shall be a process for controlling and monitoring the manufacturing of cellular therapy products so that products meet predetermined release specifications.
1. Is there a process for controlling and monitoring the manufacturing of cellular therapy products so that products meet predetermined release specifications? • Yes • No
D8.1.1 The Processing Facility Director shall define tests and procedures for measuring and assaying cellular therapy products to assure their safety, viability, and integrity and to document that products meet predetermined release specifications. Results of all such tests and procedures shall become part of the permanent record of the product processed.
1. Does the Processing Facility Director define tests and procedures for measuring and assaying cellular therapy products to: • Assure their safety, viability, and integrity? • Document that products meet predetermined release specifications?
2. Do results of all such tests and procedures become part of the permanent record of the product processed? • Yes • No
D8.1.2 There shall be a documented system for the identification and handling of test samples so that they are accurately related to the corresponding cellular therapy product, donor, or recipient.
1. Is there a documented system for the identification and handling of test samples so that they are accurately related to the corresponding cellular therapy product, donor, or recipient? • Yes • No
D8.1.2.1 There shall be a mechanism to identify the individual obtaining the sample, the sample source, the date, and the time, if appropriate.
1. Is there a mechanism to identify the: • Individual obtaining the sample? • Sample source? • Date? • Time, if appropriate?
D8.1.2.2 Samples obtained for testing shall be representative of the cellular therapy product to be evaluated.
1. Are samples obtained for testing representative of the cellular therapy product to be evaluated? • Yes • No
D8.1.3 There shall be established, appropriate, and validated assays and test procedures for the evaluation of cellular therapy products.
1. Are appropriate and validated assays and test procedures for the evaluation of cellular therapy products established? • Yes • No
D8.1.3.1 For all cellular therapy products, cell enumeration and viability assays shall be performed for clinically relevant cell populations.
1. For all cellular therapy products, are cell enumeration and viability assays performed for clinically relevant cell populations? • Yes • No
D8.1.3.2 For cellular therapy products undergoing manipulation that alters the final cell population, a relevant and validated assay, where available, shall be employed for evaluation of the viable target cell population before and after the processing procedures.
1. For cellular therapy products undergoing manipulation that alters the final cell population, is a relevant and validated assay, where available, employed for evaluation of the viable target cell population before and after the processing procedures? • Yes • No • Cellular therapy products do not undergo manipulation that alters the final cell population
D8.1.4 For tests required by these Standards performed within the Processing Facility:
1. Are the tests required by these Standards performed within the Processing Facility? • Yes • Testing is not performed within this facility
D8.1.4.1 There shall be a process for monitoring the reliability, accuracy, precision, and performance of laboratory test procedures and instruments.
1. Is there a process for monitoring laboratory test procedures and instruments for the following: • Reliability? • Accuracy? • Precision? • Performance?
D8.1.4.2 New reagent lots shall be verified to provide comparable results to current lots or to give results in agreement with suitable reference material before or concurrently with being placed into service.
1. Are new reagent lots verified to provide comparable results to current lots or to give results in agreement with suitable reference material before or concurrently with being placed into service? • Yes • No
D8.1.4.3 Where available, controls shall be used each day of testing and shown to give results within the defined range established for that material.
1. Where available, are controls used each day of testing and shown to give results within the defined range established for that material? • Yes • No
D8.1.4.4 Function checks shall be performed for testing instruments prior to testing donor, recipient, or cellular therapy product samples.
1. Are function checks performed for testing instruments prior to testing donor, recipient, or cellular therapy product samples? • Yes • No
D8.1.4.5 There shall be documentation of ongoing proficiency testing as designated by the Processing Facility Director. The results shall be reviewed by the Processing Facility Director and outcomes reviewed with the staff.
1. Is there documentation of ongoing proficiency testing as designated by the Processing Facility Director? • Yes • No
2. Are results reviewed by the Processing Facility Director and outcomes reviewed with the staff? • Yes • No
D8.1.5 Tests required by these Standards, and not performed by the Processing Facility, shall be performed by a laboratory that is certified, licensed, or accredited by the appropriate laboratory regulatory agency.
1. Are tests required by these Standards, and not performed by the Processing Facility, performed by a laboratory that is certified, licensed, or accredited by the appropriate laboratory regulatory agency? • Yes • No • All tests are performed by the facility
D8.1.6 Infectious disease testing required by these Standards shall be performed using screening tests that are licensed, approved, or cleared by the governmental authority for cellular therapy product donors.
1. Is infectious disease testing required by these Standards performed using screening tests that are licensed, approved, or cleared by the governmental authority for cellular therapy product donors? • Yes • No
D8.1.7 Cellular therapy products that do not meet allogeneic donor eligibility requirements, or for which allogeneic donor eligibility determination is not yet complete, shall be distributed only if there is documented urgent medical need for the product. Documentation shall include, at a minimum, the approval of the recipient's physician and the Processing Facility Medical Director.
1. Are cellular therapy products that do not meet allogeneic donor eligibility requirements, or for which allogeneic donor eligibility determination is not yet complete, distributed only if there is documented urgent medical need for the product? • Yes • No
2. Does documentation include, at a minimum, the approval of: • The recipient's physician? • The Processing Facility Medical Director?
D8.1.8 Notification of the recipient's physician of nonconforming cellular therapy products and approval for their release shall be documented.
1. Is notification of the recipient's physician of nonconforming cellular therapy products and approval for their release documented? • Yes • No
D8.2 There shall be a written request from the recipient's physician specifying the cellular therapy product type, recipient and donor identifiers, the type of processing that is to be performed, and the anticipated date of processing before a cellular therapy product is processed, shipped, or otherwise prepared for administration.
1. Before a cellular therapy product is processed, shipped, or otherwise prepared for administration, is there a written request from the recipient's physician specifying: • Cellular therapy product type? • Recipient and donor identifiers? • Type of processing that is to be performed? • Anticipated date of processing?
D8.3.1 A statement of donor eligibility.
1. For allogeneic cellular therapy products, does information required by the Processing Facility prior to distribution of the product include a statement of donor eligibility? • Yes • No
D8.3.2 For ineligible donors, the reason(s) for their ineligibility.
1. For allogeneic cellular therapy products, does information required by the Processing Facility prior to distribution of the product include, for ineligible donors, the reason(s) for their ineligibility? • Yes • No
D8.3.3 For ineligible donors or donors for whom eligibility determination is incomplete, documentation of urgent medical need and physician approval for use.
1. For allogeneic cellular therapy products, does information required by the Processing Facility prior to distribution of the product include, for ineligible donors or donors for whom eligibility determination is incomplete, documentation of urgent medical need and physician approval for use? • Yes • No
D8.4 Processing procedures shall be validated in the Processing Facility and documented to result in acceptable target cell viability and recovery.
1. Are processing procedures validated in the Processing Facility and documented to result in acceptable target cell viability and recovery? • Yes • No
D8.4.1 Published validated processes shall be verified within the Processing Facility prior to implementation.
1. Are published validated processes verified within the Processing Facility prior to implementation? • Yes • No
D8.4.2 The Processing Facility shall use validated methods for preparation of cellular therapy products for administration.
1. Does the Processing Facility use validated methods for preparation of cellular therapy products for administration? • Yes • No
D8.4.3 Preparation for administration of cellular therapy products manufactured by third parties shall follow the instructions provided by the manufacturer.
1. Does preparation for administration of cellular therapy products manufactured by third parties follow the instructions provided by the manufacturer? • Yes • No
D8.4.3.1 The Processing Facility should verify the preparation procedures utilizing practice materials similar to the cellular therapy product intended for administration when feasible.
1. Does the Processing Facility verify the preparation procedures utilizing practice materials similar to the cellular therapy product intended for administration when feasible? • Yes • No
D8.4.3.2 If relabeling of prepared third-party products is required, the label shall follow Applicable Law.
1. If relabeling of prepared third-party products is required, does the label follow Applicable Law? • Yes • No
D8.5 Critical control points and associated assays shall be identified and performed on each cellular therapy product as defined in Standard Operating Procedures.
1. Are critical control points and associated assays identified and performed on each cellular therapy product as defined in Standard Operating Procedures? • Yes • No
D8.6 Critical calculations shall be verified and documented where appropriate.
1. Are critical calculations verified and documented where appropriate? • Yes • No
D8.7 Methods for processing shall employ aseptic technique and cellular therapy products shall be processed in a manner that minimizes the risk of cross-contamination.
1. Do methods for processing employ aseptic technique? • Yes • No
2. Are cellular therapy products processed in a manner that minimizes the risk of cross-contamination? • Yes • No
D8.7.1 Where processing of tissues and cells involves exposure to the environment, processing shall take place in an environment with specified air quality and cleanliness.
1. Where processing of tissues and cells involves exposure to the environment, does processing take place in an environment with specified air quality and cleanliness? • Yes • No • Processing does not involve exposure to the environment
D8.7.2 The effectiveness of measures to avoid contamination and cross-contamination shall be verified and monitored.
1. Is the effectiveness of measures to avoid contamination and cross-contamination verified and monitored? • Yes • No
D8.8 The Processing Facility shall monitor and document microbial contamination of cellular therapy products after processing as specified in Standard Operating Procedures.
1. Does the Processing Facility monitor and document microbial contamination of cellular therapy products after processing as specified in Standard Operating Procedures? • Yes • No
D8.8.1 The results of microbial cultures shall be reviewed by the Processing Facility Director in a timely manner.
1. Are the results of microbial cultures reviewed by the Processing Facility Director in a timely manner? • Yes • No
D8.8.2 The recipient's physician shall be notified in a timely manner of any positive microbial cultures.
1. Is the recipient's physician notified in a timely manner of any positive microbial cultures? • Yes • No
D8.9 Records shall be made concurrently with each step of the processing, testing, cryopreservation, storage, and administration or disposal/disposition/distribution of each cellular therapy product in such a way that all steps may be accurately traced.
1. Are records made concurrently with each step of the processing, testing, cryopreservation, storage, and administration or disposal/disposition/distribution of each cellular therapy product in such a way that all steps may be accurately traced? • Yes • No
D8.9.1 Records shall identify the person immediately responsible for each significant step, including dates and times, where appropriate.
1. Do records identify the person immediately responsible for each significant step, including dates and times, where appropriate? • Yes • No
D8.9.2 Records shall show the test results and the interpretation of each result, where appropriate.
1. Do records show the test results and the interpretation of each result, where appropriate? • Yes • No
D8.10 The Processing Facility Director shall review the processing record for each cellular therapy product prior to release or distribution.
1. Does the Processing Facility Director review the processing record for each cellular therapy product prior to release or distribution? • Yes • No
D8.11 There shall be documented notification to the recipient's physician and the Processing Facility Medical Director of clinically relevant processing endpoints not met and remedial actions taken.
1. Is there documented notification to the recipient's physician and the Processing Facility Medical Director of clinically relevant processing endpoints not met and the remedial actions taken? • Yes • No
D8.12 Processing using more-than-minimal manipulation shall only be performed in accordance with institutional policies and Applicable Law and with the written informed consent of the donor, if applicable, and the recipient of the cellular therapy product.
1. Is processing using more-than-minimal manipulation only performed: • In accordance with institutional policies and Applicable Law? • With the written informed consent of the donor, if applicable? • The facility does not perform more-than-minimal manipulation. • With the written informed consent of the recipient of the cellular therapy product?
D8.12.1 Documentation of approvals by the Institutional Review Board, Ethics Committee, or equivalent and the Institutional Biosafety Committee or equivalent shall be maintained.
1. Is documentation of approvals by the Institutional Review Board, Ethics Committee, or equivalent and the Institutional Biosafety Committee or equivalent maintained? • Yes • No
D8.12.2 The Processing Facility shall adhere to Good Manufacturing Practice regulations appropriate for the degree of cellular therapy product manipulation.
1. Does the Processing Facility adhere to Good Manufacturing Practice appropriate for the degree of cellular therapy product manipulation? • Yes • No • The facility does not perform more-than-minimal manipulation
D8.13.1 Results for donor and recipient ABO group and Rh type testing shall be available from two (2) independently collected samples. Discrepancies shall be resolved and documented prior to issue of the cellular therapy product.
1. Are results for donor and recipient ABO group and Rh type testing available from two (2) independently collected samples for allogeneic cellular therapy products containing red blood cells at the time of administration sufficient to cause a transfusion reaction? • Yes • No
2. Are discrepancies resolved and documented prior to issue of the cellular therapy product? • Yes • No
D8.13.2 When relevant, results for a red blood cell antibody screen on the recipient shall be available.
1. Are results for a red blood cell antibody screen on the recipient available, when relevant? • Yes • No
D8.14 One or more retention samples representing the cryopreserved cellular therapy product shall be stored under conditions that achieve a valid representation of the clinical product and in accordance with institutional Standard Operating Procedures.
1. Are one or more retention samples representing the cryopreserved cellular therapy product stored under conditions that achieve a valid representation of the clinical product and in accordance with institutional Standard Operating Procedures? • Yes • No
D9.1 Processing and storage facilities shall be secured and controlled to prevent mix-ups, deterioration, contamination, cross-contamination, and improper distribution of cellular therapy products.
1. Are Processing and storage facilities controlled and secured to prevent the following: • Mix-ups? • Deterioration? • Contamination? • Cross-contamination? • Improper distribution?
D9.2.1 Conditions and duration of storage of all cellular therapy products shall be validated.
1. Are conditions and duration of storage of all cellular therapy products validated? • Yes • No
D9.2.2 Processing Facilities processing, storing, or releasing cellular therapy products for administration shall assign an expiration date and time for non-cryopreserved products and for products thawed after cryopreservation.
1. If processing, storing, or releasing cellular therapy products for administration does the Processing Facility assign an expiration date and time for non-cryopreserved products and for products thawed after cryopreservation? • Yes • No • The processing facility does not process, store, and/or release cellular therapy products for administration
D9.2.3 There shall be a written stability program that annually evaluates the viability and potency of cryopreserved cellular therapy products.
1. Is there a written stability program that annually evaluates the viability and potency of cryopreserved cellular therapy products? • Yes • No
2. Submit the written stability program that annually evaluates the viability and potency of cryopreserved cellular therapy products, and the results of the last annual assessment. (Must be in English)
D9.3.1 Storage temperatures shall be defined in Standard Operating Procedures.
1. Are storage temperatures defined in Standard Operating Procedures? • Yes • No
D9.3.2 Noncryopreserved cellular therapy products shall be maintained within a specific temperature range to maintain viability and function, to inhibit infectious agents, and for a period of time not to exceed that specified in Standard Operating Procedures.
1. Are noncryopreserved cellular therapy products maintained within a specific temperature range: • To maintain viability and function? • To inhibit infectious agents? • For a period of time not to exceed that specified in Standard Operating Procedures?
D9.3.3 Cryopreserved cellular therapy products shall be stored within a temperature range, as defined in Standard Operating Procedures, that is appropriate for the product and cryoprotectant solution used.
1. Are cryopreserved cellular therapy products stored within a temperature range as defined in Standard Operating Procedures, that is appropriate for the product and cryoprotectant solution used? • Yes • No
D9.3.4 Prior to receipt of a cellular therapy product from an external facility, there shall be confirmation that the product can be appropriately stored.
1. Prior to receipt of a cellular therapy product from an external facility, is there confirmation that the product can be appropriately stored? • Yes • No
D9.4.1 Materials that may adversely affect cellular therapy products shall not be stored in the same refrigerators or freezers as the cellular therapy products.
1. Are materials that may adversely affect cellular therapy products prevented from being stored in the same refrigerators or freezers as the cellular therapy products? • Yes • No
D9.4.2 For cellular therapy products immersed in liquid nitrogen, procedures to minimize the risk of cross-contamination of products shall be employed.
1. For cellular therapy products immersed in liquid nitrogen, are procedures to minimize the risk of cross-contamination of products employed? • Yes • No • Cellular therapy products are not immersed in liquid nitrogen
D9.4.3 Processes for storing cellular therapy products in quarantine shall be defined in Standard Operating Procedures.
1. Are processes for storing cellular therapy products in quarantine defined in Standard Operating Procedures? • Yes • No
D9.4.3.1 Quarantined cellular therapy products shall be easily distinguishable and stored in a manner that minimizes the risks of cross-contamination and inappropriate distribution.
1. Are quarantined cellular therapy products easily distinguishable? • Yes • No
2. Are quarantined cellular therapy products stored in a manner that minimizes the risks of cross-contamination and inappropriate distribution? • Yes • No
D9.4.3.2 All cellular therapy products with positive infectious disease test results for relevant communicable disease agents or positive microbial cultures shall be quarantined. Disposition shall be documented.
1. Are all cellular therapy products with positive infectious disease test results for relevant communicable disease agents or positive microbial cultures quarantined? • Yes • No
2. Is disposition documented? • Yes • No
D9.4.3.3 Processing Facilities storing cellular therapy products shall quarantine each product until completion of the donor eligibility determination as required by Applicable Law.
1. If storing cellular therapy products does the Processing Facility quarantine each product until completion of the donor eligibility determination as required by Applicable Law? • Yes • No • Cellular therapy products are not stored
D9.5.1 Storage devices in which cellular therapy products are not fully immersed in liquid nitrogen shall have a system to monitor the temperature continuously and to record the temperature at least every four (4) hours.
1. Do storage devices in which cellular therapy products are not fully immersed in liquid nitrogen have a system to monitor the temperature continuously? • Yes • No • Cellular therapy products are fully immersed in liquid nitrogen
2. Do storage devices have a system to record the temperature at least every four (4) hours? • Yes • No • Cellular therapy products are fully immersed in liquid nitrogen.
D9.5.2 There shall be a mechanism to confirm that levels of liquid nitrogen in liquid nitrogen freezers are consistently maintained to assure that cellular therapy products remain within the specified temperature range.
1. Is there a mechanism to confirm that levels of liquid nitrogen in liquid nitrogen freezers are consistently maintained to assure that cellular therapy products remain within the specified temperature range? • Yes • No
D9.6.1 Storage devices for cellular therapy products or reagents for cellular therapy product processing shall have alarm systems that are continuously active.
1. Do storage devices for cellular therapy products or reagents for cellular therapy product processing have alarm systems that are continuously active? • Yes • No
D9.6.2 Alarm systems shall have audible and visible signals or other effective notification methods.
1. Do alarm systems have audible and visible signals or other effective notification methods? • Yes • No
D9.6.3 Alarm systems shall be checked periodically for function.
1. Are alarm systems checked periodically for function? • Yes • No
D9.6.4 If trained personnel are not always present in the immediate area of the storage device, a system shall be in place that alerts responsible personnel of alarm conditions on a 24-hour basis.
1. If trained personnel are not always present in the immediate area of the storage device, is a system in place that alerts responsible personnel of alarm conditions on a 24-hour basis? • Yes • No • Trained personnel are always present in the immediate area of the storage device
D9.6.5 Alarms shall be set to activate at a temperature or level of liquid nitrogen that will allow time to salvage products.
1. Are alarms set to activate at a temperature or level of liquid nitrogen that will allow time to salvage products? • Yes • No
D9.6.6 Written instructions to be followed if the storage device fails shall be displayed in the immediate area of the storage device and at each remote alarm location.
1. Are written instructions to be followed if the storage device fails displayed: • In the immediate area of the storage device? • At each remote alarm location?
D9.6.6.1 Instructions shall include a procedure for notifying processing personnel.
1. Do instructions include a procedure for notifying processing personnel? • Yes • No
D9.6.7 Storage devices of appropriate temperature shall be available for cellular therapy product storage if the primary storage device fails.
1. Are storage devices of appropriate temperature available for cellular therapy product storage if the primary storage device fails? • Yes • No
D9.7 The storage device shall be located in a secure area and accessible only to personnel authorized by the Processing Facility Director.
1. Is the storage device located in a secure area and accessible only to personnel authorized by the Processing Facility Director? • Yes • No
D9.8 The Processing Facility shall use an inventory control system to identify the location of each cellular therapy product and associated samples. The inventory control system records shall include:
1. Does the Processing Facility use an inventory control system to identify the location of each cellular therapy product and associated samples? • Yes • No
2. Do the inventory control system records include the following: • Cellular therapy product unique identifier. [D9.8.1] • Recipient name or unique identifier. [D9.8.2] • Storage device identifier. [D9.8.3] • Location within the storage device. [D9.8.4]
D10.1 Standard Operating Procedures for transportation and shipping of cellular therapy products shall be designed to protect the integrity of the product and the health and safety of individuals in the immediate area.
1. Are Standard Operating Procedures for transportation and shipping of cellular therapy products designed to protect the integrity of the product and the health and safety of individuals in the immediate area? • Yes • No
D10.2 The primary product container for non-frozen cellular therapy products shall be placed in a secondary container and sealed to prevent leakage.
1. Is the primary product container for non-frozen cellular therapy products placed in a secondary container and sealed to prevent leakage? • Yes • No • Non-frozen cellular therapy products are not transported or shipped
D10.3 Cellular therapy products that require a temperature-controlled environment and that are transported or shipped over an extended period of time shall be transported or shipped in a container validated to maintain the appropriate temperature range.
1. Are cellular therapy products that require a temperature-controlled environment and that are transported or shipped over an extended period of time transported or shipped in a container validated to maintain the appropriate temperature range? • Yes • No • Cellular therapy products that require a temperature-controlled environment are not transported or shipped.
D10.4 Conditions shall be established and maintained to preserve the integrity and safety of cellular therapy products during transport or shipping.
1. Are conditions established and maintained to preserve the integrity and safety of cellular therapy products during transport or shipping? • Yes • No
D10.5 Cellular therapy products that are shipped to another facility or transported on public roads shall be packaged in an outer container.
1. Are cellular therapy products that are shipped to another facility or transported on public roads packaged in an outer container? • Yes • No • Cellular therapy products are not shipped to another facility or transported on public roads
D10.5.1 The outer container shall conform to the applicable regulations regarding the mode of transportation or shipping.
1. Does the outer container conform to the applicable regulations regarding the mode of transportation or shipping? • Yes • No
D10.5.2 The outer container shall be made of material adequate to withstand leakage of contents, shocks, pressure changes, and other conditions incident to ordinary handling during transport or shipping.
1. Is the outer container made of material adequate to withstand leakage of contents, shocks, pressure changes, and other conditions incident to ordinary handling during transport or shipping? • Yes • No
D10.5.2.1 The temperature of the shipping container shall be continuously monitored during shipment of cellular therapy products.
1. Is the temperature of the shipping container continuously monitored during shipment of cellular therapy products? • Yes • No
D10.5.2.2 The shipping facility shall maintain a record of the temperature over the period of travel.
1. Does the shipping facility maintain a record of the temperature over the period of travel? • Yes • No
D10.5.3 The outer container shall be secured.
1. Is the outer container secured? • Yes • No
D10.5.4 The outer container shall be labeled as defined in the Cellular Therapy Product Labels for Shipping and Transport on Public Roads table in Appendix II A.
1. Does the outer container label include the following elements: • Statement Do Not X-Ray and/or Do Not Irradiate, if applicable? • Statements Human Cells for Administration or equivalent and Handle with Care? • Shipper handling instructions? • Shipping facility name, street address, contact person, and phone number? • Receiving facility name, street address, contact person, and phone number?
D10.5.5 There shall be a document inside the outer container that includes all the information required on the outer container, in conformity with the Cellular Therapy Product Labels for Shipping and Transport on Public Roads table in Appendix II A.
1. Do the following accompany the cellular therapy product on a document inside the outer container: • Date of distribution, if appropriate? • Time of distribution, if appropriate? • Statement Do Not X-Ray and/or Do Not Irradiate, if applicable? • Statements Human Cells for Administration or equivalent and Handle with Care? • Shipper handling instructions? • Shipping facility name, street address, contact person, and phone number? • Receiving facility name, street address, contact person, and phone number? • Biohazard and/or Warning Labels (as applicable, see C7.4.4, D7.4.4)? • If applicable, Statement NOT EVALUATED FOR INFECTIOUS SUBSTANCES? • If applicable, Statement WARNING: Advise Patient of Communicable Disease Risks? • If applicable, Statement WARNING: Reactive Test Results for [name of disease agent or disease]?
D10.5.6 The outer container shall be labeled in accordance with Applicable Law regarding the cryogenic material used and the transport or shipment of biological materials.
1. Is the outer container labeled in accordance with Applicable Law regarding the cryogenic material used and the transport or shipment of biological materials? • Yes • No
D10.6 Cellular therapy products transported internally shall be packaged in a qualified, closed, and protective outer container.
1. Are cellular therapy products transported internally packaged in a qualified, closed and protective outer container? • Yes • No
D10.6.1 The outer container for internal transport shall be labeled as defined in Appendix II B.
1. Is the outer container for internal transport labeled as defined in Appendix II B? • Yes • No
D10.7 The transit time shall be within time limits determined by the distributing facility in consultation with the receiving facility to maintain cellular therapy product safety.
1. Is the transit time within time limits determined by the distributing facility in consultation with the receiving facility to maintain cellular therapy product safety? • Yes • No
D10.8 There shall be plans for alternative means of transport or shipping in an emergency.
1. Are there plans for alternative means of transport or shipping in an emergency? • Yes • No
D10.9 The cellular therapy products should not be passed through X-Ray irradiation devices designed to detect metal objects. If inspection is necessary, the contents of the container should be inspected manually.
1. Are cellular therapy products restricted from passing through X-Ray irradiation devices designed to detect metal objects? • Yes • No
2. If inspection is necessary, are contents of the container inspected manually? • Yes • No
D10.10 A mechanism should be in place to allow detection if the shipping container was opened. If opened, the shipping facility should be notified.
1. Is a mechanism in place to allow detection if the shipping container was opened? • Yes • No
2. If opened, is the shipping facility notified? • Yes • No
D11.1.1 Standard Operating Procedures shall be established and maintained for acceptance, rejection, and quarantine of cellular therapy products.
1. Are Standard Operating Procedures established and maintained for cellular therapy products: • Acceptance? • Rejection? • Quarantine?
D11.1.2 The receipt of each cellular therapy product shall include inspection to verify:
1. Does the receipt of each cellular therapy product include inspection to verify: • The integrity of the cellular therapy product container. [D11.1.2.1] • The appearance of the cellular therapy product for evidence of mishandling or microbial contamination. [D11.1.2.2] • Appropriate labeling. [D11.1.2.3]
D11.1.3 There shall be Standard Operating Procedures to verify that the cellular therapy product was appropriately transported or shipped.
1. Are there Standard Operating Proceduress to verify that the cellular therapy product was appropriately transported or shipped? • Yes • No
D11.1.3.1 The receiving facility shall document the temperature inside the container upon arrival if shipped or transported on public roads.
1. Does the receiving facility document the temperature of inside the container upon arrival if shipped or transported on public roads? • Yes • No • Cellular therapy products received are not shipped or transported on public roads
D11.1.3.2 For cryopreserved cellular therapy products, receiving facility records shall include documentation of the container temperature during shipping.
1. For cryopreserved cellular therapy products, do receiving facility records include documentation of the container temperature during shipping? • Yes • No • The facility does not cryopreserve products
D11.1.4 The receiving facility shall review and verify cellular therapy product specifications provided by the manufacturer, if applicable.
1. Does the receiving facility review and verify cellular therapy product specifications provided by the manufacturer, if applicable? • Yes • No
D11.1.5 There shall be Standard Operating Proceduress to maintain cellular therapy products in quarantine until they have been determined to meet criteria for release from quarantine.
1. Are there Standard Operating Proceduress to maintain cellular therapy products in quarantine until they have been determined to meet criteria for release from quarantine? • Yes • No
D11.1.6 If the temperature of the cellular therapy product has been compromised, the Processing Facility Director shall give specific authorization to return the product to inventory.
1. If the temperature of the cellular therapy product has been compromised, does the Processing Facility Director give specific authorization to return the product to inventory? • Yes • No • Cellular therapy products are not returned to inventory
D11.1.7 The receiving facility shall have readily available access to a summary of documents used to determine allogeneic donor eligibility.
1. Does the receiving facility have readily available access to a summary of documents used to determine allogeneic donor eligibility? • Yes • No
D11.1.7.1 For cellular therapy products received from an external facility, there shall be documented evidence of donor eligibility screening and testing in accordance with Applicable Law.
1. For cellular therapy products received from an external facility, is there documented evidence of donor eligibility screening and testing in accordance with Applicable Law? • Yes • No
D11.1.8 When cellular therapy products are returned to the Processing Facility after distribution for administration, there shall be documentation in the Processing Facility records of the events requiring return, the temporary storage temperature when at the clinical facility, the results of inspection upon return, and subsequent action taken to protect product safety and viability.
1. When cellular therapy products are returned to the Processing Facility after distribution for administration, does the documentation in the Processing Facility records include the: • Events requiring return? • Temporary storage temperature when at the clinical facility? • Results of inspection upon return? • Subsequent action taken to protect product safety and viability?
D11.1.8.1 The Processing Facility Director shall consult with the recipient's physician regarding reissue or disposal of the returned cellular therapy product.
1. Does the Processing Facility Director consult with the recipient's physician regarding reissue or disposal of the returned cellular therapy product? • Yes • No
D11.2.1 The processing, collection, and transport or shipping records for each cellular therapy product shall be reviewed by the Processing Facility Director for compliance with Standard Operating Procedures and Applicable Law prior to product release and distribution.
1. Are the processing, collection, and transport or shipping records for each cellular therapy product reviewed by the Processing Facility Director for compliance with Standard Operating Procedures and Applicable Law prior to product release and distribution? • Yes • No
D11.2.1.1 Records shall demonstrate traceability from the donor to the recipient and from the recipient to the donor.
1. Do records demonstrate traceability from the donor to the recipient and from the recipient to the donor? • Yes • No
D11.2.2 Each cellular therapy product shall meet pre-determined release criteria prior to distribution from the Processing Facility. The release criteria shall include donor eligibility determination for allogeneic products.
1. Does each cellular therapy product meet pre-determined release criteria prior to distribution from the Processing Facility? • Yes • No
2. Does the release criteria include donor eligibility determination for allogeneic products? • Yes • No
D11.2.2.1 The Processing Facility Director shall give specific authorization for release when the cellular therapy product does not meet technical release criteria.
1. Does the Processing Facility Director give specific authorization for release when the cellular therapy product does not meet technical release criteria? • Yes • No
D11.2.2.2 The Processing Facility Medical Director shall give specific authorization for release when the cellular therapy product does not meet clinically relevant release criteria.
1. Does the Processing Facility Medical Director give specific authorization for release when the cellular therapy product does not meet clinically relevant release criteria? • Yes • No
D11.2.2.3 Documentation of agreement between the Processing Facility Medical Director and the recipient's physician to use any non-conforming cellular therapy product shall be retained in the processing record if such release is allowed by policies, Standard Operating Procedures, or package inserts of licensed products.
1. Is documentation of agreement between the Processing Facility Medical Director and the recipient's physician consent to use any non-conforming cellular therapy product retained in the processing record? • Yes • No
D11.2.3 Each cellular therapy product issued for administration shall be visually inspected by two (2) trained personnel immediately before release to verify the integrity of the product container and identity as indicated by appropriate labeling.
1. Is each cellular therapy product issued for administration visually inspected by two (2) trained personnel immediately before release to verify the integrity of the product container and identity as indicated by appropriate labeling? • Yes • No
D11.2.3.1 A cellular therapy product shall not be released when the container is compromised or recipient, donor, or product information is not verified unless the Processing Facility Director gives specific authorization for the product's release.
1. Are cellular therapy products not released when the container is compromised or recipient, donor, or product information is not verified unless the Processing Facility Director gives specific authorization for the product's release? • Yes • No
D11.2.4 For each type of cellular therapy product, the Processing Facility shall maintain and distribute or make a document available to clinical staff containing the following:
1. Is the current version of the inter-organizational Circular of Information (COI) for the Use of Cellular Therapy Products used at your facility? • Yes • No, we use a document other than the current version of the inter-organizational Circular of Information (COI) for the Use of Cellular Therapy Products
2. Submit the document made available to clinical staff. The document must include at least the requirements listed in D11.2.4.1-D11.2.4.3. (Must be in English)
D11.2.4.1 The use of the cellular therapy product, indications, contraindications, side effects and hazards, dosage, and administration recommendations.
1. Does the Processing Facility make available to clinical staff a document that contains the: • Use of the cellular therapy product? • Indications? • Contraindications? • Side effects and hazards? • Dosage? • Administration recommendations?
D11.2.4.2 Instructions for handling the cellular therapy product to minimize the risk of contamination or cross-contamination.
1. Does the Processing Facility make available to clinical staff a document that contains instructions for handling the cellular therapy product to minimize the risk of contamination or cross-contamination? • Yes • No
D11.2.4.3 Appropriate warnings related to the prevention of the transmission or spread of communicable diseases.
1. Does the Processing Facility make available to clinical staff a document that contains appropriate warnings related to the prevention of the transmission or spread of communicable diseases? • Yes • No
D11.3.1 The cellular therapy product distribution records shall permit tracking and tracing of the cellular therapy product, and shall contain the following information at a minimum:
1. Do cellular therapy product distribution permit tracking and tracing of the cellular therapy product? • Yes • No
2. Does the product distribution record contain the following information at a minimum: • The proper product name and identifier. [D11.3.1.1] • Unique identifier of the intended recipient. [D11.3.1.2] • Documentation of donor eligibility determination, as appropriate. [D11.3.1.3] • Identification of the facilities that requested and distributed the product. [D11.3.1.4] • Identity of the receiving facility. [D11.3.1.5] • Date and time the cellular therapy product was distributed. [D11.3.1.6] • Date and time cellular therapy product was received. [D11.3.1.7] • Identity of the transporting or shipping facility. [D11.3.1.8] • Identity of personnel responsible for cellular therapy product transportation or shipping and of personnel responsible for receiving the product. [D11.3.1.9] • Identity of the courier. [D11.3.1.10] • Documentation of any delay or problems incurred during transportation or shipping. [D11.3.1.11]
D12.1.1 A pre-collection written agreement between the storage facility and the designated recipient or the donor defining the length of storage and the circumstances for disposal of cellular therapy products.
1. Is there a pre-collection written agreement between the storage facility and the designated recipient or the donor defining the length of storage and the circumstances for disposal of cellular therapy products? • Yes • No
D12.1.2 The option to transfer the cellular therapy product to another facility if the designated recipient is still alive after the agreed-upon storage interval.
1. Is there an option to transfer the cellular therapy product to another facility if the designated recipient is still alive after the agreed-upon storage interval? • Yes • No
2. Submit the pre-collection written agreement between the storage facility and the designated recipient or the donor that includes the length of storage, circumstances for disposal, and option to transfer the cellular therapy product to another facility.
D12.1.3 Documentation of no further need for the cellular therapy product before any product is discarded.
1. Is there documentation that the cellular therapy product is no longer needed before any product is discarded? • Yes • No
D12.1.4 Approval by the Processing Facility Medical Director in consultation with the recipient's physician for cellular therapy product discard or other disposition, and method of disposal.
1. Is there approval by the Processing Facility Medical Director in consultation with the recipient's physician for cellular therapy product discard or other disposition, and method of disposal? • Yes • No
D12.1.5 A method of disposal and decontamination that meets Applicable Law for disposal of biohazardous materials and medical waste.
1. Is there a method of disposal and decontamination that meets Applicable Law for disposal of biohazardous materials and/or medical waste? • Yes • No
D12.2 Processing Facilities, in consultation with the Clinical Program, shall establish policies for the duration and conditions of storage and indications for disposal.
1. Do Processing Facilities, in consultation with the Clinical Program, establish policies for the duration and conditions of storage and indications for disposal? • Yes • No
D12.2.1 If there is no pre-existing agreement describing conditions for cellular therapy product storage and/or discard or if the intended recipient is lost to follow-up, the storage facility shall make a documented effort to notify the donor, cellular therapy product manufacturer, or designated recipient's physician and facility about product disposition, including disposal or transfer.
1. If there is no pre-existing agreement describing conditions for cellular therapy product storage and/or discard or if the intended recipient is lost to follow-up, does the storage facility make a documented effort to notify the following about product disposition, including disposal or transfer: • The donor? • The cellular therapy product manufacturer? • The designated recipient's physician and facility?
D12.3 The records for discarded or transferred cellular therapy products shall indicate the identity of the product, date of discard or transfer, disposition, and method of disposal or transfer.
1. Do records for discarded or transferred cellular therapy products indicate the: • The identity of the product? • Date of discard or transfer? • Disposition? • Method of disposal or transfer?
D13.1 A record management system shall be established and maintained to facilitate the review of records.
1. Is there a records management system established and maintained to facilitate the review of records? • Yes • No
D13.1.1 The records management system shall facilitate tracking of the cellular therapy product from the donor to the recipient or final disposition and tracing from the recipient or final disposition to the donor.
1. Does the records management system facilitate tracking of the cellular therapy product from the donor to the recipient or final disposition and tracing from the recipient or final disposition to the donor? • Yes • No
D13.1.2 For cellular therapy products that are to be distributed for use at another institution, the Processing Facility shall inform the receiving institution of the tracking system and requirement for tracking the product in writing at or before the time of product distribution.
1. For cellular therapy products that are to be distributed for use at another institution, does the Processing Facility inform the receiving institution of the tracking system and requirement for tracking the product in writing at or before the time of product distribution? • Yes • No
D13.2 The Processing Facility shall define and follow good documentation practices.
1. Does the Processing Facility define and follow good documentation practices? • Yes • No
D13.2.1 Records shall be accurate and legible.
1. Are records accurate and legible? • Yes • No
D13.2.2 Records shall be indelible.
1. Are records indelible? • Yes • No
D13.3 Records shall be maintained in such a way as to ensure their integrity, preservation, and retrieval.
1. Are records maintained in such a way as to ensure their integrity, preservation, and retrieval? • Yes • No
D13.4 Safeguards to secure the confidentiality of all records and communications among the collection staff, processing facilities, clinical facilities, and health care providers and their recipients and donors shall be established and followed in compliance with Applicable Law.
1. Are safeguards to secure the confidentiality of all records and communications among the collection staff, processing facilities, clinical facilities, and health care providers and their recipients and donors established and followed in compliance with Applicable Law? • Yes • No
D13.5.1 The Processing Facility shall maintain a current listing of all critical electronic record systems. Critical electronic record systems shall include, at a minimum, systems under the control of the Processing Facility that are used as a substitute for paper, to make decisions, to perform calculations, or to create or store information used in critical procedures.
1. Does the Processing Facility use electronic record systems under the control of the facility? • Yes • No
2. Are any of these electronic record systems used as a substitute for paper, to make decisions, to perform calculations, or to create or store information used in critical procedures? • Yes • No
3. Does the Processing Facility maintain a current listing of all critical electronic record systems? • Yes • No
4. Submit the current list of critical electronic record systems in control of the Processing Facility, including a description of the purpose of each system and how it is used. Complete and upload the Critical Electronic Record Systems form or submit other documentation that contains the equivalent information for each critical record system. (Must be in English)
D13.5.2 For all critical electronic record systems, there shall be policies, Standard Operating Procedures, and system controls to maintain the accuracy, integrity, identity, and confidentiality of all records.
1. For all critical electronic record systems, are there policies, Standard Operating Procedures, and system controls to maintain the accuracy, integrity, identity, and confidentiality of all records? • Yes • No
D13.5.3 There shall be a means by which access to electronic records is limited to authorized individuals.
1. Is there a means by which access to electronic records is limited to authorized individuals? • Yes • No
D13.5.4 The critical electronic record system shall maintain unique identifiers.
1. Does the critical electronic record system maintain unique identifiers? • Yes • No
D13.5.5 There shall be protection of the records to enable their accurate and ready retrieval throughout the period of record retention.
1. Is there protection of the records to enable their accurate and ready retrieval throughout the period of record retention? • Yes • No
D13.5.6 For each critical electronic record system, there shall be an alternative system for all electronic records to allow for continuous operation of the Processing Facility in the event that a critical electronic record system is not available. The alternative system shall be validated and Processing Facility staff shall be trained in its use.
1. For each critical electronic record systems, is there an alternative system for all electronic records to allow for continuous operation of the Processing Facility in the event that critical electronic record system is not available? • Yes • No
2. Is the alternative system validated? • Yes • No
3. Is Processing Facility staff trained in its use? • Yes • No
D13.5.7 For all critical electronic record systems, there shall be written Standard Operating Proceduress for record entry, verification, and revision.
1. For all critical electronic record systems, are there written Standard Operating Procedures for: • Record entry? • Verification? • Revision?
D13.5.7.1 A method shall be established or the system shall provide for review of data before final acceptance.
1. Is a method established or does the system provide for review of data before final acceptance? • Yes • No
D13.5.7.2 A method shall be established or the system shall provide for the unambiguous identification of the individual responsible for each record entry.
1. Is a method established or does the system provide for the unambiguous identification of the individual responsible for each record entry? • Yes • No
D13.5.8 For all critical electronic record systems, there shall be the ability to generate true copies of the records in both human-readable and electronic format suitable for inspection and review.
1. For all critical electronic record systems, is there the ability to generate true copies of the records in both human-readable and electronic format suitable for inspection and review? • Yes • No
D13.5.9 For all critical electronic record systems, there shall be validated procedures for and documentation of:
1. For all critical electronic record systems, are there validated procedures for and documentation of the following: • Systems development. [D13.5.9.1] • Numerical designation of system versions, if applicable. [D13.5.9.2] • Prospective validation of systems, including hardware, software, and databases. [D13.5.9.3] • Installation of the system. [D13.5.9.4] • Training and continued competency of personnel in systems use. [D13.5.9.5] • Monitoring of data integrity. [D13.5.9.6] • Back-up of the electronic records system on a regular schedule. [D13.5.9.7] • System maintenance and operations. [D13.5.9.8] • System assignment of unique identifiers. [D13.5.9.9] • All system modifications shall be authorized, documented, and validated prior to implementation. [D13.5.9.10]
D13.6.1 Processing Facility records related to quality control, investigational protocols, personnel training and competency, facility maintenance, facility management, complaints, or other general facility issues shall be retained for a minimum of ten (10) years after the creation of the cellular therapy product record or date of the cellular therapy product's distribution, disposition, or expiration, whichever is latest, or according to Applicable Law.
1. Are Processing Facility records related to quality control, investigational protocols, personnel training and competency, facility maintenance, facility management, complaints, or other general facility issues retained for a minimum of ten (10) years after the creation of the cellular therapy product record or date of the cellular therapy product's distribution, disposition, or expiration, whichever is latest, or according to Applicable Law.? • Yes • No
D13.6.1.1 Employee records shall be maintained in a confidential manner, as required by Applicable Law.
1. Are employee records maintained in a confidential manner, as required by Applicable Law? • Yes • No
D13.6.1.2 Facility maintenance records pertaining to facility cleaning and sanitation shall be retained for at least three (3) years or longer in accordance with Applicable Law.
1. Are facility maintenance records pertaining to facility cleaning and sanitation retained for at least three (3) years or longer in accordance with Applicable Law? • Yes • No
D13.6.1.3 Validation study records for a processing procedure shall be retained for a minimum of ten (10) years after distribution of the final products manufactured using that procedure.
1. Are validation studies for a processing procedure retained for a minimum of ten (10) years after distribution of the final products manufactured using that procedure? • Yes • No
D13.6.2 Records to allow tracing of cellular therapy products shall be maintained for a minimum of ten (10) years after administration, distribution, disposition, or expiration of the cellular therapy product, or as required by Applicable Law. These records shall include collection and processing facility identity, unique numeric or alphanumeric identifier, collection date and time, product code, and donor and recipient information as known.
1. Are records to allow tracing of cellular therapy products maintained for a minimum of ten (10) years after administration, distribution, disposition, or expiration of the cellular therapy product, or as required by Applicable Law? • Yes • No
2. Do these records include the following as known: • Collection facility identity? • Processing facility identity? • Unique numeric or alphanumeric identifier? • Collection date and time? • Product code? • Donor information? • Recipient information?
D13.6.3 All records pertaining to the processing, testing, storage, or distribution of cellular therapy products shall be maintained for a minimum of ten (10) years after the date of administration, or if the date of administration is not known, then a minimum of ten (10) years after the date of the cellular therapy product's distribution, disposition, or expiration, or the creation of the cellular therapy product record, whichever is most recent, or according to Applicable Law or institutional policy, whichever is latest.
1. Are records pertaining to the processing, testing, storage, or distribution of cellular therapy products maintained for a minimum of ten (10) years after the date of administration, or if the date of administration is not known, then a minimum of ten (10) years after the date of the cellular therapy product's distribution, disposition, or expiration, or the creation of the cellular therapy product record, whichever is most recent, or according to Applicable Law or institutional policy, whichever is latest? • Yes • No
D13.6.4 Research records shall be maintained in a confidential manner as required by Applicable Law or for a minimum of ten (10) years after the administration, distribution, disposition, or expiration of the cellular therapy product, whichever is latest.
1. Are research records maintained in a confidential manner as required by Applicable Law or for a minimum of ten (10) years after the administration, distribution, disposition, or expiration of the cellular therapy product, whichever is latest? • Yes • No
D13.7.1 The Processing Facility shall maintain a listing of the names, addresses, and responsibilities of other facilities that perform manufacturing steps on a cellular therapy product.
1. Does the Processing Facility maintain a listing of the names, addresses, and responsibilities of other facilities that perform manufacturing steps on a cellular therapy product? • Yes • No • Other facilities do not perform manufacturing steps on cellular therapy products
D13.7.2 The Processing Facility shall provide to the facility of final disposition a summary of all records relating to the collection, processing, and storage procedures performed and the safety, purity, or potency of the cellular therapy product.
1. Does the Processing Facility provide to the facility of final disposition a summary of all records relating to the collection, processing, and storage procedures performed and the safety, purity, or potency of the cellular therapy product? • Yes • No
D13.7.3 If two (2) or more facilities participate in the collection, processing, or distribution of the cellular therapy product, the records of the Processing Facility shall show the extent of its responsibility.
1. If two (2) or more facilities participate in the collection, processing, or distribution of the cellular therapy product, do the records of the Processing Facility show the extent of its responsibility? • Yes • No • Only one (1) facility participates in the collection, processing, or distribution of the cellular therapy product